## Transmission Monitroing
Detector | Camera trigger
Select IR Camera 1 vs IR camera 2 or both
| Camera Configuration | D1-N9-GAD0-COT-CAM:I1-CG-IT-0000-CGWRPNNPVL
D1-N9-GAD0-COT-CAM:I1-CG-IT-0000-CGWRPNNPVC
D1-N9-GAD0-COT-CAM:I1-CG-IT-0000-SMREPNNPEN
Grab frames using camera
Camera exposure time
TM | Light loss at FAT | D1-N9-GAD0-DPC-TRC:TM-ST-00-0000-CGGSPNNPSC
| Last Transmission M co-eff | D1-N9-GAD0-DPC-TRC:TM-LT-00-0000-CGGSPNNPSC
| Background correction | D1-N9-GAD0-DPC-TRC:TM-BI-00-0000-CGGSPNNPSC
Variac | Stepper motor config | D1-N9-GAD0-COT-LVP:CO-SP-00-0000-COWRPNPWVL
D1-N9-GAD0-COT-LVP:CO-PO-00-0000-COCMPNNPRB
D1-N9-GAD0-COT-LVP:CF-PO-00-0000-CGSEPNPWVL
D1-N9-GAD0-COT-LVP:CF-DC-00-0000-CGSEPN00VL

## Sheet1
Level 4 | Code | ID | Level 5 | Code | ID | Variable Name
IR Camera #1 | I1
|  |  | Raw Images | RI
D1-N9-GAD0-DPC-MES:HS-I1-RI-CGR1-CGWRPNNPVC
D1-N9-GAD0-DPC-MES:HS-I1-RI-CGR1-SMREPNNPEN
D1-N9-GAD0-DPC-MES:HS-I1-RI-C0R1-MMREDNNPBF
D1-N9-GAD0-DPC-MES:HS-I1-RI-C0R1-IFRESNNPVC
D1-N9-GAD0-DPC-MES:HS-I1-RI-C0R1-QTRESNNPVL
|  |  | Pre-processed Images | PI
D1-N9-GAD0-DPC-MES:HS-I1-PI-CGP1-CGWRPNNPVC
D1-N9-GAD0-DPC-MES:HS-I1-PI-CGP1-SMREPNNPEN
D1-N9-GAD0-DPC-MES:HS-I1-PI-COP1-MMREDNNPBF
D1-N9-GAD0-DPC-MES:HS-I1-PI-COP1-IFRESNNPVC
D1-N9-GAD0-DPC-MES:HS-I1-PI-COP1-QTRESNNPVL
IR Camera #2 | I2
|  |  | Raw Images | RI
D1-N9-GAD0-DPC-MES:HS-I2-RI-CGR2-CGWRPNNPVC
D1-N9-GAD0-DPC-MES:HS-I2-RI-CGR2-SMREPNNPEN
D1-N9-GAD0-DPC-MES:HS-I2-RI-COR2-MMREDNNPBF
D1-N9-GAD0-DPC-MES:HS-I2-RI-COR2-IFRESNNPVC
D1-N9-GAD0-DPC-MES:HS-I2-RI-COR2-QTRESNNPVL
|  |  | Pre-processed Images | PI
D1-N9-GAD0-DPC-MES:HS-I2-PI-CGP2-CGWRPNNPVC
D1-N9-GAD0-DPC-MES:HS-I2-PI-CGP2-SMREPNNPEN
D1-N9-GAD0-DPC-MES:HS-I2-PI-COP2-MMREDNNPBF
D1-N9-GAD0-DPC-MES:HS-I2-PI-COP2-IFRESNNPVC
D1-N9-GAD0-DPC-MES:HS-I2-PI-COP2-QTRESNNPVL
IR Camera #1 | I1
D1-N9-GAD0-DPC-CTR:LD-I1-00-0000-SMREPNNPBF
IR Camera #2 | I2
D1-N9-GAD0-DPC-CTR:LD-I2-00-0000-SMREPNNPBF
large FOV Visible Camera | LV
D1-N9-GAD0-DPC-CTR:LD-LV-00-0000-SMREPNNPBF
High Speed Visible Camera | SV
D1-N9-GAD0-DPC-CTR:LD-SV-00-0000-SMREPNNPBF
Blocks number | BN
D1-N9-GAD0-DPC-CFG:GP-BN-00-0000-SMREPNNPEN
Threads number | TN
D1-N9-GAD0-DPC-CFG:GP-TN-00-0000-SMREPNNPEN
Raw Images | RI
|  |  | Detector Correction | DC
D1-N9-GAD0-DPC-CAL:I1-RI-DC-LDR1-CGWRPNNPBF
D1-N9-GAD0-DPC-CAL:I1-RI-DC-ADR1-CLREDNNPBF
|  |  | Loss Correction | LC
D1-N9-GAD0-DPC-CAL:I1-RI-LC-LCR1-CGWRPNNPBF
D1-N9-GAD0-DPC-CAL:I1-RI-LC-ACR1-CLREDNNPBF
|  |  | Optical correction | OC
D1-N9-GAD0-DPC-CAL:I1-RI-OC-LOR1-CGWRPNNPBF
D1-N9-GAD0-DPC-CAL:I1-RI-OC-AOR1-CLREDNNPBF
|  |  | Group1 correction | 1C
D1-N9-GAD0-DPC-CAL:I1-RI-1C-C1R1-CGREPNNPBF
D1-N9-GAD0-DPC-CAL:I1-RI-1C-A1R1-CLREDNNPBF
|  |  | Thermal background correction | TB
D1-N9-GAD0-DPC-CAL:I1-RI-TB-LTR1-CGWRPNNPBF
D1-N9-GAD0-DPC-CAL:I1-RI-TB-ATR1-CLREDNNPBF
|  |  | Cross-talk/ Ghosts correction | CH
D1-N9-GAD0-DPC-CAL:I1-RI-CH-LGR1-CGWRPNNPBF
D1-N9-GAD0-DPC-CAL:I1-RI-CH-AGR1-CLREDNNPBF
|  |  | Group2 correction | 2C
D1-N9-GAD0-DPC-CAL:I1-RI-2C-C2R1-CGREPNNPBF
D1-N9-GAD0-DPC-CAL:I1-RI-2C-A2R1-CLREDNNPBF
|  |  | Radiance to Temperature | RT
D1-N9-GAD0-DPC-CAL:I1-RI-RT-LRT1-CGWRPNNPBF
D1-N9-GAD0-DPC-CAL:I1-RI-RT-ART1-CLREDNNPBF
|  |  | Mapping | MP
D1-N9-GAD0-DPC-CAL:I1-RI-MP-LMR1-CGWRPNNPVC
D1-N9-GAD0-DPC-CAL:I1-RI-MP-LMR1-CGWRDNNPBF
D1-N9-GAD0-DPC-CAL:I1-RI-MP-AMR1-CLREPNNPBF
Pre-processed Images | PI
|  |  | Detector Correction | DC
D1-N9-GAD0-DPC-CAL:I1-PI-DC-LDR1-CGWRPNNPBF
D1-N9-GAD0-DPC-CAL:I1-PI-DC-ADR1-CLREDNNPBF
|  |  | Loss Correction | LC
D1-N9-GAD0-DPC-CAL:I1-PI-LC-LCR1-CGWRPNNPBF
D1-N9-GAD0-DPC-CAL:I1-PI-LC-ACR1-CLREDNNPBF
|  |  | Optical correction | OC
D1-N9-GAD0-DPC-CAL:I1-PI-OC-LOR1-CGWRPNNPBF
D1-N9-GAD0-DPC-CAL:I1-PI-OC-AOR1-CLREDNNPBF
|  |  | Group1 correction | 1C
D1-N9-GAD0-DPC-CAL:I1-PI-1C-C1R1-CGREPNNPBF
D1-N9-GAD0-DPC-CAL:I1-PI-1C-A1R1-CLREDNNPBF
|  |  | Thermal background correction | TB
D1-N9-GAD0-DPC-CAL:I1-PI-TB-LTR1-CGWRPNNPBF
D1-N9-GAD0-DPC-CAL:I1-PI-TB-ATR1-CLREDNNPBF
|  |  | Cross-talk/ Ghosts correction | CH
D1-N9-GAD0-DPC-CAL:I1-PI-CH-LGR1-CGWRPNNPBF
D1-N9-GAD0-DPC-CAL:I1-PI-CH-AGR1-CLREDNNPBF
|  |  | Group2 correction | 2C
D1-N9-GAD0-DPC-CAL:I1-PI-2C-C2R1-CGREPNNPBF
D1-N9-GAD0-DPC-CAL:I1-PI-2C-A2R1-CLREDNNPBF
|  |  | Radiance to Temperature | RT
D1-N9-GAD0-DPC-CAL:I1-PI-RT-LRT1-CGWRPNNPBF
D1-N9-GAD0-DPC-CAL:I1-PI-RT-ART1-CLREDNNPBF
|  |  | Mapping | MP
D1-N9-GAD0-DPC-CAL:I1-PI-MP-LMR1-CGWRPNNPVC
D1-N9-GAD0-DPC-CAL:I1-PI-MP-LMR1-CGWRDNNPBF
D1-N9-GAD0-DPC-CAL:I1-PI-MP-AMR1-CLREPNNPBF
Raw Images | RI
|  |  | Detector Correction | DC
D1-N9-GAD0-DPC-CAL:I2-RI-DC-LDR2-CGWRPNNPBF
D1-N9-GAD0-DPC-CAL:I2-RI-DC-ADR2-CLREDNNPBF
|  |  | Loss Correction | LC
D1-N9-GAD0-DPC-CAL:I2-RI-LC-LCR2-CGWRPNNPBF
D1-N9-GAD0-DPC-CAL:I2-RI-LC-ACR2-CLREDNNPBF
|  |  | Optical correction | OC
D1-N9-GAD0-DPC-CAL:I2-RI-OC-LOR2-CGWRPNNPBF
D1-N9-GAD0-DPC-CAL:I2-RI-OC-AOR2-CLREDNNPBF
|  |  | Group1 correction | 1C
D1-N9-GAD0-DPC-CAL:I2-RI-1C-C1R2-CGREPNNPBF
D1-N9-GAD0-DPC-CAL:I2-RI-1C-A1R2-CLREDNNPBF
|  |  | Thermal background correction | TB
D1-N9-GAD0-DPC-CAL:I2-RI-TB-LTR2-CGWRPNNPBF
D1-N9-GAD0-DPC-CAL:I2-RI-TB-ATR2-CLREDNNPBF
|  |  | Cross-talk/ Ghosts correction | CH
D1-N9-GAD0-DPC-CAL:I2-RI-CH-LGR2-CGWRPNNPBF
D1-N9-GAD0-DPC-CAL:I2-RI-CH-AGR2-CLREDNNPBF
|  |  | Group2 correction | 2C
D1-N9-GAD0-DPC-CAL:I2-RI-2C-C2R2-CGREPNNPBF
D1-N9-GAD0-DPC-CAL:I2-RI-2C-A2R2-CLREDNNPBF
|  |  | Radiance to Temperature | RT
D1-N9-GAD0-DPC-CAL:I2-RI-RT-LRT2-CGWRPNNPBF
D1-N9-GAD0-DPC-CAL:I2-RI-RT-ART2-CLREDNNPBF
|  |  | Mapping | MP
D1-N9-GAD0-DPC-CAL:I2-RI-MP-LMR2-CGWRPNNPVC
D1-N9-GAD0-DPC-CAL:I2-RI-MP-LMR2-CGWRDNNPBF
D1-N9-GAD0-DPC-CAL:I2-RI-MP-AMR2-CLREPNNPBF
Pre-processed Images | PI
|  |  | Detector Correction | DC
D1-N9-GAD0-DPC-CAL:I2-PI-DC-LDR2-CGWRPNNPBF
D1-N9-GAD0-DPC-CAL:I2-PI-DC-ADR2-CLREDNNPBF
|  |  | Loss Correction | LC
D1-N9-GAD0-DPC-CAL:I2-PI-LC-LCR2-CGWRPNNPBF
D1-N9-GAD0-DPC-CAL:I2-PI-LC-ACR2-CLREDNNPBF
|  |  | Optical correction | OC
D1-N9-GAD0-DPC-CAL:I2-PI-OC-LOR2-CGWRPNNPBF
D1-N9-GAD0-DPC-CAL:I2-PI-OC-AOR2-CLREDNNPBF
|  |  | Group1 correction | 1C
D1-N9-GAD0-DPC-CAL:I2-PI-1C-C1R2-CGREPNNPBF
D1-N9-GAD0-DPC-CAL:I2-PI-1C-A1R2-CLREDNNPBF
|  |  | Thermal background correction | TB
D1-N9-GAD0-DPC-CAL:I2-PI-TB-LTR2-CGWRPNNPBF
D1-N9-GAD0-DPC-CAL:I2-PI-TB-ATR2-CLREDNNPBF
|  |  | Cross-talk/ Ghosts correction | CH
D1-N9-GAD0-DPC-CAL:I2-PI-CH-LGR2-CGWRPNNPBF
D1-N9-GAD0-DPC-CAL:I2-PI-CH-AGR2-CLREDNNPBF
|  |  | Group2 correction | 2C
D1-N9-GAD0-DPC-CAL:I2-PI-2C-C2R2-CGREPNNPBF
D1-N9-GAD0-DPC-CAL:I2-PI-2C-A2R2-CLREDNNPBF
|  |  | Radiance to Temperature | RT
D1-N9-GAD0-DPC-CAL:I2-PI-RT-LRT2-CGWRPNNPBF
D1-N9-GAD0-DPC-CAL:I2-PI-RT-ART2-CLREDNNPBF
|  |  | Mapping | MP
D1-N9-GAD0-DPC-CAL:I2-PI-MP-LMR2-CGWRPNNPVC
D1-N9-GAD0-DPC-CAL:I2-PI-MP-LMR2-CGWRDNNPBF
D1-N9-GAD0-DPC-CAL:I2-PI-MP-AMR2-CLREPNNPBF
Raw Images | RI
|  |  | Detector Correction | DC
D1-N9-GAD0-DPC-CAL:LV-RI-DC-ADRL-CLREDNNPBF
|  |  | Loss Correction | LC
D1-N9-GAD0-DPC-CAL:LV-RI-LC-ACRL-CLREDNNPBF
|  |  | Cross-talk/ Ghosts | CH
D1-N9-GAD0-DPC-CAL:LV-RI-CH-AGRL-CLREDNNPBF
|  |  | Mapping | MP
D1-N9-GAD0-DPC-CAL:LV-RI-MP-AMRL-CLREDNNPBF
|  |  | Spectral Correction | SP
D1-N9-GAD0-DPC-CAL:LV-RI-SP-ASRL-CLREDNNPBF
Pre-processed Images | PI
|  |  | Detector Correction | DC
D1-N9-GAD0-DPC-CAL:LV-PI-DC-ADPL-CLREDNNPBF
|  |  | Loss Correction | LC
D1-N9-GAD0-DPC-CAL:LV-PI-LC-ACPL-CLREDNNPBF
|  |  | Cross-talk/ Ghosts | CH
D1-N9-GAD0-DPC-CAL:LV-PI-CH-AGPL-CLREDNNPBF
|  |  | Mapping | MP
D1-N9-GAD0-DPC-CAL:LV-PI-MP-AMPL-CLREDNNPBF
|  |  | Spectral Correction | SP
D1-N9-GAD0-DPC-CAL:LV-PI-SP-ASPL-CLREDNNPBF
Raw Images | RI
|  |  | Detector Correction | DC
D1-N9-GAD0-DPC-CAL:SV-RI-DC-ADRS-CLREDNNPBF
|  |  | Loss Correction | LC
D1-N9-GAD0-DPC-CAL:SV-RI-LC-ACRS-CLREDNNPBF
|  |  | Cross-talk/ Ghosts | CH
D1-N9-GAD0-DPC-CAL:SV-RI-CH-AGRS-CLREDNNPBF
|  |  | Mapping | MP
D1-N9-GAD0-DPC-CAL:SV-RI-MP-AMRS-CLREDNNPBF
|  |  | Spectral Correction | SP
D1-N9-GAD0-DPC-CAL:SV-RI-SP-ASRS-CLREDNNPBF
Pre-processed Images | PI
|  |  | Detector Correction | DC
D1-N9-GAD0-DPC-CAL:SV-PI-DC-ADPS-CLREDNNPBF
|  |  | Loss Correction | LC
D1-N9-GAD0-DPC-CAL:SV-PI-LC-ACPS-CLREDNNPBF
|  |  | Cross-talk/ Ghosts | CH
D1-N9-GAD0-DPC-CAL:SV-PI-CH-AGPS-CLREDNNPBF
|  |  | Mapping | MP
D1-N9-GAD0-DPC-CAL:SV-PI-MP-AMPS-CLREDNNPBF
|  |  | Spectral Correction | SP
D1-N9-GAD0-DPC-CAL:SV-PI-SP-ASPS-CLREDNNPBF
System Transmission | ST
D1-N9-GAD0-DPC-TRC:TM-ST-00-0000-CGGSPNNPSC
Load Last TM | LT
D1-N9-GAD0-DPC-TRC:TM-LT-00-0000-CGGSPNNPSC
Background Radiation from Instruments | BI
D1-N9-GAD0-DPC-TRC:TM-BI-00-0000-CGGSPNNPSC
TM parameter | TM
D1-N9-GAD0-DPC-TRC:TT-TM-00-0000-CLRWPNNPSC
Offset | OF
|  |  | In range | RA
D1-N9-GAD0-DPC-TRC:CP-OF-RA-0000-ERRWPNNPSC
|  |  | Error | ER
D1-N9-GAD0-DPC-TRC:CP-OF-ER-0000-ERRWPNNPSC
|  |  | Qaulity Tag | QA
D1-N9-GAD0-DPC-TRC:CP-OF-QA-GOOD-QTRWPNNPSC
D1-N9-GAD0-DPC-TRC:CP-OF-QA-BADD-QTRWPNNPSC
TM parameter | TP
D1-N9-GAD0-DPC-TRC:UT-TP-00-0000-CLRWPNNPSC
D1-N9-GAD0-DPC-FLH:LU-00-00-0000-CGREPNNPVL
D1-N9-GAD0-DPC-FLH:PW-00-00-0000-COREPNPWVL
Alignment Mapping | A1
|  |  | Input functions | IF
D1-N9-GAD0-DPC-ALN:CF-A1-IF-MAGR-CGREPNNPMT
Active alignment | A2
|  |  | Input function | IF
D1-N9-GAD0-DPC-ALN:CF-A2-IF-SPCP-CGREPNPOSC
Active alignment for VV conditions | A3
|  |  | Input function | IF
D1-N9-GAD0-DPC-ALN:CF-A3-IF-VVTE-CGREPNTMSC
IR cameras | IR
D1-N9-GAD0-DPC-ALN:HM-IR-00-0000-CGWRPNNPSC
VIS Cameras | VI
D1-N9-GAD0-DPC-ALN:HM-VI-00-0000-CGWRPNNPSC
AUTO | AU
D1-N9-GAD0-DPC-ALN:HM-AU-00-0000-CGWRPNNPSC
MANUAL | MA
D1-N9-GAD0-DPC-ALN:HM-MA-00-0000-CGWRPNNPSC
Alignment position | PO
|  |  | Scan pattern image | SC
D1-N9-GAD0-DPC-ALN:A1-PO-SC-0000-CGWRPNNPMT
|  |  | Calculate alignment | CA
D1-N9-GAD0-DPC-ALN:A1-PO-CA-0000-MEREPNPOVC
|  |  | Calculate transfer function | C1
D1-N9-GAD0-DPC-ALN:A1-PO-C1-0000-CGWRPNPOVC
|  |  | Command steppers to new alignment | CI
D1-N9-GAD0-DPC-ALN:A1-PO-CI-0000-MEREPNNPMT
|  |  | Verify new alignment | LP
D1-N9-GAD0-DPC-ALN:A1-PO-LP-0000-MEREPNPOVC
|  |  | Update alignment mapping | BL
D1-N9-GAD0-DPC-ALN:A1-PO-BL-0000-MEREPNPOVC
Thermal Alignment | TA
|  |  | Thermal alignment calculation | TC
D1-N9-GAD0-DPC-ALN:A1-TA-TC-CATA-MEGEPNTMSC
Alignment LUT | AL
|  |  | Set alignment LUT | AL
D1-N9-GAD0-DPC-ALN:A1-AL-AL-0000-CGGSPNNPVC
Thermal alignment | TA
D1-N9-GAD0-DPC-ALN:A2-TA-00-0000-OTRWPNPOVC
Active tracking | AT
|  |  | Calculate current stepper motors positions | CP
D1-N9-GAD0-DPC-ALN:A2-AT-CP-0000-OTRWPNPOMT
|  |  | Calculate target stepper motors positions | CR
D1-N9-GAD0-DPC-ALN:A2-AT-CR-0000-OTRWPNPOMT
Focus control / image quality | IQ
|  |  | Calculate piston action | PA
D1-N9-GAD0-DPC-ALN:A2-IQ-PA-0000-OTRWPNPOMT
Calculate alignment | CC
|  |  | Steppers in commanded positions | SP
D1-N9-GAD0-DPC-ALN:A2-CC-SP-0000-OTRWPNPOVC
Timer | TM
|  |  | Alignment trigger | AT
D1-N9-GAD0-DPC-ALN:CO-TM-AT-0000-OTRWSNPOVC
|  |  | Alignment timer | TM
D1-N9-GAD0-DPC-ALN:CO-TM-TM-0000-OTRWPNPOVC
BB Source Temp | BT
|  |  | Set Temperature | SP
D1-N9-GAD0-DPC-BBC:CF-BT-SP-0000-CGRWPNTMSC
Camera config for Calibration | IR
|  |  | IR Camera 1 | I1
D1-N9-GAD0-DPC-BBC:CF-IR-I1-0000-CGRWPNNPSC
|  |  | IR Camera 2 | I2
D1-N9-GAD0-DPC-BBC:CF-IR-I2-0000-CGRWPNNPSC
Select Camera | SC
D1-N9-GAD0-DPC-BBC:CF-SC-00-0000-CGRWPNNPVL
Calculate Uniformity | CU
D1-N9-GAD0-DPC-BBC:UC-CU-00-0000-CLRWPNNPVL
BB uniformity LUT | LU
|  |  | Set LUT | SL
D1-N9-GAD0-DPC-BBC:UC-LU-SL-0000-OTRWPNNPMT
BB source | ED
|  |  | Enable | EN
D1-N9-GAD0-DPC-BBC:CO-ED-EN-0000-COEDPNNPVL
|  |  | Disable | DS
D1-N9-GAD0-DPC-BBC:CO-ED-DS-0000-COEDPNNPVL
Integrated Sphere Temp | IT
|  |  | Set Temperature | SP
D1-N9-GAD0-DPC-INS:CF-IT-SP-0000-CGRWPNTMSC
Camera config for Calibration | VS
|  |  | VIS Camera 1 | V1
D1-N9-GAD0-DPC-INS:CF-VS-V1-0000-CGRWPNNPSC
|  |  | VIS Camera 2 | V2
D1-N9-GAD0-DPC-INS:CF-VS-V2-0000-CGRWPNNPSC
Select Camera | SC
D1-N9-GAD0-DPC-INS:CF-SC-00-0000-CGRWPNNPVL
Filter Wheel | FL
|  |  | Input function | IF
D1-N9-GAD0-DPC-INS:CF-FL-IF-FLPO-CGRWPNNPMT
Calculate Uniformity | CU
D1-N9-GAD0-DPC-INS:UC-CU-00-0000-CLRWPNNPVL
IS uniformity LUT | LU
|  |  | Set LUT | SL
D1-N9-GAD0-DPC-INS:UC-LU-SL-0000-OTRWPNNPMT
Integrated Sphere | ED
|  |  | Enable | EN
D1-N9-GAD0-DPC-INS:CO-ED-EN-0000-COEDPNNPVL
|  |  | Disable | DS
D1-N9-GAD0-DPC-INS:CO-ED-DS-0000-COEDPNNPVL
DC fan | DC
D1-N9-GAD0-DPC-PWM:CO-DC-00-0000-0000000000
Filter Wheel 1 commanded position | FP
|  |  | ND filter (GM-3301) | ND
D1-N9-GAD0-DPC-FWF:CO-FP-ND-0000-CORWPNNPVL
|  |  | filter1 (GM-3303) | F1
D1-N9-GAD0-DPC-FWF:CO-FP-F1-0000-CORWPNNPVL
|  |  | filter2 (GM-3305) | F2
D1-N9-GAD0-DPC-FWF:CO-FP-F2-0000-CORWPNNPVL
Filter Wheel 2 commanded position | FW
|  |  | ND filter (GM-3302) | ND
D1-N9-GAD0-DPC-FWF:CO-FW-ND-0000-CORWPNNPVL
|  |  | filter1 (GM-3304) | F1
D1-N9-GAD0-DPC-FWF:CO-FW-F1-0000-CORWPNNPVL
|  |  | filter2 (GM-3306) | F2
D1-N9-GAD0-DPC-FWF:CO-FW-F2-0000-CORWPNNPVL
IR Image Alignment | IA
|  |  | Configuration | CG
|  |  | Raw Images | RI
D1-N9-GAD0-DPC-ANA:BA-IA-RI-0000-COREPNNPBF
D1-N9-GAD0-DPC-ANA:BA-IA-RI-0000-SMREPNNPEN
|  |  | Pre-processed Images | PI
D1-N9-GAD0-DPC-ANA:BA-IA-PI-0000-COREPNNPBF
D1-N9-GAD0-DPC-ANA:BA-IA-PI-0000-SMREPNNPEN
Bi-color Temperature Assessment | TA
|  |  | Configuration | CG
|  |  | Raw Images | RI
D1-N9-GAD0-DPC-ANA:BA-TA-RI-0000-COREPNNPBF
D1-N9-GAD0-DPC-ANA:BA-TA-RI-0000-SMREPNNPEN
|  |  | Pre-processed Images | PI
D1-N9-GAD0-DPC-ANA:BA-TA-PI-0000-COREPNNPBF
D1-N9-GAD0-DPC-ANA:BA-TA-PI-0000-SMREPNNPEN
Emissivity Update | EU
|  |  | Configuration | CG
|  |  | Raw Images | RI
D1-N9-GAD0-DPC-ANA:BA-EU-RI-0000-COREPNNPBF
D1-N9-GAD0-DPC-ANA:BA-EU-RI-0000-SMREPNNPEN
|  |  | Pre-processed Images | PI
D1-N9-GAD0-DPC-ANA:BA-EU-PI-0000-COREPNNPBF
D1-N9-GAD0-DPC-ANA:BA-EU-PI-0000-SMREPNNPEN
IR camera #1 | I1
|  |  | Calculate | CA
D1-N9-GAD0-DPC-ANA:DM-I1-CA-0000-COREPNNPBF
D1-N9-GAD0-DPC-ANA:DM-I1-CA-0000-SMREPNNPEN
IR camera #2 | I2
|  |  | Calculate | CA
D1-N9-GAD0-DPC-ANA:DM-I2-CA-0000-COREPNNPBF
D1-N9-GAD0-DPC-ANA:DM-I2-CA-0000-SMREPNNPEN
large FOV Visible camera | LV
|  |  | Calculate | CA
D1-N9-GAD0-DPC-ANA:DM-LV-CA-0000-COREPNNPBF
D1-N9-GAD0-DPC-ANA:DM-LV-CA-0000-SMREPNNPEN
High Speed Visible camera | SV
|  |  | Calculate | CA
D1-N9-GAD0-DPC-ANA:DM-SV-CA-0000-COREPNNPBF
D1-N9-GAD0-DPC-ANA:DM-SV-CA-0000-SMREPNNPEN
Configuration | CG
D1-N9-GAD0-DPC-STA:MN-CG-00-0000-SMREPNNPEN
|  |  | Image | IM
D1-N9-GAD0-DPC-STA:MN-CG-IM-0000-CGWRPNNPBF
|  |  | Width | WI
D1-N9-GAD0-DPC-STA:MN-CG-WI-0000-CGWRPN00VL
|  |  | Height | HE
D1-N9-GAD0-DPC-STA:MN-CG-HE-0000-CGWRPN00VL
|  |  | Region | RE
D1-N9-GAD0-DPC-STA:MN-CG-RE-XPOS-CGWRPN00VL
D1-N9-GAD0-DPC-STA:MN-CG-RE-YPOS-CGWRPN00VL
D1-N9-GAD0-DPC-STA:MN-CG-RE-WIDH-CGWRPN00VL
D1-N9-GAD0-DPC-STA:MN-CG-RE-HEHT-CGWRPN00VL
Control | CO
D1-N9-GAD0-DPC-STA:MN-CO-00-0000-COREPNNPVL
D1-N9-GAD0-DPC-STA:MN-CO-00-0000-SMREPNNPEN
Configuration | CG
D1-N9-GAD0-DPC-STA:MI-CG-00-0000-SMREPNNPEN
|  |  | Image | IM
D1-N9-GAD0-DPC-STA:MI-CG-IM-0000-CGWRPNNPBF
D1-N9-GAD0-DPC-STA:MI-CG-IM-WIDH-CGWRPN00VL
D1-N9-GAD0-DPC-STA:MI-CG-IM-HEHT-CGWRPN00VL
|  |  | Region | RE
D1-N9-GAD0-DPC-STA:MI-CG-RE-XPOS-CGWRPN00VL
D1-N9-GAD0-DPC-STA:MI-CG-RE-YPOS-CGWRPN00VL
D1-N9-GAD0-DPC-STA:MI-CG-RE-WIDH-CGWRPN00VL
D1-N9-GAD0-DPC-STA:MI-CG-RE-HEHT-CGWRPN00VL
Control | CO
D1-N9-GAD0-DPC-STA:MI-CO-00-0000-COREPNNPVL
D1-N9-GAD0-DPC-STA:MI-CO-00-0000-SMREPNNPEN
Configuration | CG
D1-N9-GAD0-DPC-STA:MX-CG-00-0000-SMREPNNPEN
|  |  | Image | IM
D1-N9-GAD0-DPC-STA:MX-CG-IM-0000-CGWRPNNPBF
D1-N9-GAD0-DPC-STA:MX-CG-IM-WIDH-CGWRPN00VL
D1-N9-GAD0-DPC-STA:MX-CG-IM-HEHT-CGWRPN00VL
|  |  | Region | RE
D1-N9-GAD0-DPC-STA:MX-CG-RE-XPOS-CGWRPN00VL
D1-N9-GAD0-DPC-STA:MX-CG-RE-YPOS-CGWRPN00VL
D1-N9-GAD0-DPC-STA:MX-CG-RE-WIDH-CGWRPN00VL
D1-N9-GAD0-DPC-STA:MX-CG-RE-HEHT-CGWRPN00VL
Control | CO
D1-N9-GAD0-DPC-STA:MX-CO-00-0000-COREPNNPVL
D1-N9-GAD0-DPC-STA:MX-CO-00-0000-SMREPNNPEN
Configuration | CG
D1-N9-GAD0-DPC-STA:SD-CG-00-0000-SMREPNNPEN
|  |  | Image | IM
D1-N9-GAD0-DPC-STA:SD-CG-IM-0000-CGWRPNNPBF
D1-N9-GAD0-DPC-STA:SD-CG-IM-WIDH-CGWRPN00VL
D1-N9-GAD0-DPC-STA:SD-CG-IM-HEHT-CGWRPN00VL
|  |  | Region | RE
D1-N9-GAD0-DPC-STA:SD-CG-RE-XPOS-CGWRPN00VL
D1-N9-GAD0-DPC-STA:SD-CG-RE-YPOS-CGWRPN00VL
D1-N9-GAD0-DPC-STA:SD-CG-RE-WIDH-CGWRPN00VL
D1-N9-GAD0-DPC-STA:SD-CG-RE-HEHT-CGWRPN00VL
Control | CO
D1-N9-GAD0-DPC-STA:SD-CO-00-0000-COREPNNPVL
D1-N9-GAD0-DPC-STA:SD-CO-00-0000-SMREPNNPEN
IR image #1 | I1
|  |  | Configuration | CG
|  |  | Control | CO
D1-N9-GAD0-DPC-FLT:TH-I1-CO-0000-COREDNNPBF
D1-N9-GAD0-DPC-FLT:TH-I1-CO-0000-SMREPNNPEN
IR image #2 | I2
|  |  | Configuration | CG
|  |  | Control | CO
D1-N9-GAD0-DPC-FLT:TH-I2-CO-0000-COREDNNPBF
D1-N9-GAD0-DPC-FLT:TH-I2-CO-0000-SMREPNNPEN
IR image #1 | I1
|  |  | Configuration | CG
|  |  | Control | CO
D1-N9-GAD0-DPC-TRA:LA-I1-CO-0000-COREDNNPBF
D1-N9-GAD0-DPC-TRA:LA-I1-CO-0000-SMREPNNPEN
IR image #2 | I2
|  |  | Configuration | CG
|  |  | Control | CO
D1-N9-GAD0-DPC-TRA:LA-I2-CO-0000-COREDNNPBF
D1-N9-GAD0-DPC-TRA:LA-I2-CO-0000-SMREPNNPEN
IR image #1 | I1
|  |  | Configuration | CG
|  |  | Control | CO
D1-N9-GAD0-DPC-TRA:BM-I1-CO-0000-COREDNNPBF
D1-N9-GAD0-DPC-TRA:BM-I1-CO-0000-SMREPNNPEN
IR image #2 | I2
|  |  | Configuration | CG
|  |  | Control | CO
D1-N9-GAD0-DPC-TRA:BM-I2-CO-0000-COREDNNPBF
D1-N9-GAD0-DPC-TRA:BM-I2-CO-0000-SMREPNNPEN
IR image #1 | I1
|  |  | Configuration | CG
|  |  | Control | CO
D1-N9-GAD0-DPC-TRA:BF-I1-CO-0000-COREDNNPBF
D1-N9-GAD0-DPC-TRA:BF-I1-CO-0000-SMREPNNPEN
IR image #2 | I2
|  |  | Configuration | CG
|  |  | Control | CO
D1-N9-GAD0-DPC-TRA:BF-I2-CO-0000-COREDNNPBF
D1-N9-GAD0-DPC-TRA:BF-I2-CO-0000-SMREPNNPEN
IR image #1 | I1
|  |  | Configuration | CG
|  |  | Control | CO
IR image #2 | I2
|  |  | Configuration | CG
|  |  | Control | CO
D1-N9-GAD0-DPC-TRA:HT-I2-CO-0000-IFREPNNPVC
D1-N9-GAD0-DPC-TRA:HT-I2-CO-0000-SMREPNNPEN
IR camera #1 | I1
D1-N9-GAD0-DPC-ALM:MC-I1-00-0000-ALGEPNNPVL
IR camera #2 | I2
D1-N9-GAD0-DPC-ALM:MC-I2-00-0000-ALGEPNNPVL
large FOV Visible camera | LV
D1-N9-GAD0-DPC-ALM:MC-LV-00-0000-ALGEPNNPVL
High Speed Visible camera | SV
D1-N9-GAD0-DPC-ALM:MC-SV-00-0000-ALGEPNNPVL
Measurement | ME
D1-N9-GAD0-DPC-ERR:MO-ME-00-0000-ERGEPNNPVL
IR camera #1 | I1
|  |  | Configuration | CG
D1-N9-GAD0-DPC-PER:PT-I1-CG-EPI1-CGWRPNNPEN
D1-N9-GAD0-DPC-PER:PT-I1-CG-DPI1-CGWRPNNPEN
|  |  | Processing Time Assessment | TA
D1-N9-GAD0-DPC-PER:PT-I1-TA-0000-TMREPNNPVL
IR camera #2 | I2
|  |  | Configuration | CG
D1-N9-GAD0-DPC-PER:PT-I2-CG-EPI2-CGWRPNNPEN
D1-N9-GAD0-DPC-PER:PT-I2-CG-DPI2-CGWRPNNPEN
|  |  | Processing Time Assessment | TA
D1-N9-GAD0-DPC-PER:PT-I2-TA-0000-TMREPNNPVL
large FOV Visible camera | LV
|  |  | Configuration | CG
D1-N9-GAD0-DPC-PER:PT-LV-CG-EPLV-CGWRPNNPEN
D1-N9-GAD0-DPC-PER:PT-LV-CG-DPLV-CGWRPNNPEN
|  |  | Processing Time Assessment | TA
D1-N9-GAD0-DPC-PER:PT-LV-TA-0000-TMREPNNPVL
High Speed Visible camera | SV
|  |  | Configuration | CG
D1-N9-GAD0-DPC-PER:PT-SV-CG-EPSV-CGWRPNNPEN
D1-N9-GAD0-DPC-PER:PT-SV-CG-DPSV-CGWRPNNPEN
|  |  | Processing Time Assessment | TA
D1-N9-GAD0-DPC-PER:PT-SV-TA-0000-TMREPNNPVL