## Timing Module (PXIe 6683H)
Variable name | [14 empty] | In/Out In - from device Out - to device | Description | Hardware Allocation
Device
$(CBS1) | - | $(CBS2) | - | HWCF | : | $(BOARDTYPE) | - | $(BOARDTYPEIDX) | - | ErrorSev |  |  |  |  | In | NISYNC error severity | 550000-PCF-0001
$(CBS1) | - | $(CBS2) | - | HWCF | : | $(BOARDTYPE) | - | $(BOARDTYPEIDX) | - | ErrorSrc |  |  |  |  | In | NISYNC error source. NDS node than has generated the error or warning. | 550000-PCF-0001
$(CBS1) | - | $(CBS2) | - | HWCF | : | $(BOARDTYPE) | - | $(BOARDTYPEIDX) | - | ErrorMsg |  |  |  |  | In | NISYNC error message. Description of the last error or warning generated by a NDS node | 550000-PCF-0001
State Machine
$(CBS1) | - | $(CBS2) | - | HWCF | : | $(BOARDTYPE) | - | $(BOARDTYPEIDX) | - | StateMachine | - | getState |  |  | In | Get device state (NDS State Machine) | 550000-PCF-0001
$(CBS1) | - | $(CBS2) | - | HWCF | : | $(BOARDTYPE) | - | $(BOARDTYPEIDX) | - | StateMachine | - | setState |  |  | Out | Set device state (NDS State Machine) | 550000-PCF-0001
Firmware
$(CBS1) | - | $(CBS2) | - | HWCF | : | $(BOARDTYPE) | - | $(BOARDTYPEIDX) | - | $(FIRMWARE_NAME) | - | STM | - | getState | In | Get module state (NDS State Machine) | 550000-PCF-0001
$(CBS1) | - | $(CBS2) | - | HWCF | : | $(BOARDTYPE) | - | $(BOARDTYPEIDX) | - | $(FIRMWARE_NAME) | - | STM | - | setState | Out | Set module state (NDS State Machine) | 550000-PCF-0001
$(CBS1) | - | $(CBS2) | - | HWCF | : | $(BOARDTYPE) | - | $(BOARDTYPEIDX) | - | $(FIRMWARE_NAME) | - | HWRevision |  |  | In | Hardware revision ID | 550000-PCF-0001
$(CBS1) | - | $(CBS2) | - | HWCF | : | $(BOARDTYPE) | - | $(BOARDTYPEIDX) | - | $(FIRMWARE_NAME) | - | SerialNumber |  |  | In | Device serial number | 550000-PCF-0001
$(CBS1) | - | $(CBS2) | - | HWCF | : | $(BOARDTYPE) | - | $(BOARDTYPEIDX) | - | $(FIRMWARE_NAME) | - | Model |  |  | In | Device model | 550000-PCF-0001
$(CBS1) | - | $(CBS2) | - | HWCF | : | $(BOARDTYPE) | - | $(BOARDTYPEIDX) | - | $(FIRMWARE_NAME) | - | Type |  |  | In | Device type | 550000-PCF-0001
$(CBS1) | - | $(CBS2) | - | HWCF | : | $(BOARDTYPE) | - | $(BOARDTYPEIDX) | - | $(FIRMWARE_NAME) | - | DriverVersion |  |  | In | Driver version | 550000-PCF-0001
$(CBS1) | - | $(CBS2) | - | HWCF | : | $(BOARDTYPE) | - | $(BOARDTYPEIDX) | - | $(FIRMWARE_NAME) | - | Status |  |  | In | Firmware status | 550000-PCF-0001
Timing
$(CBS1) | - | $(CBS2) | - | HWCF | : | $(BOARDTYPE) | - | $(BOARDTYPEIDX) | - | $(TIMING_NAME) | - | STM | - | getState | In | Get module state (NDS State Machine)
$(CBS1) | - | $(CBS2) | - | HWCF | : | $(BOARDTYPE) | - | $(BOARDTYPEIDX) | - | $(TIMING_NAME) | - | STM | - | setState | Out | Set module state (NDS State Machine)
$(CBS1) | - | $(CBS2) | - | HWCF | : | $(BOARDTYPE) | - | $(BOARDTYPEIDX) | - | $(TIMING_NAME) | - | SyncStatus |  |  | In | Synchronization Status
$(CBS1) | - | $(CBS2) | - | HWCF | : | $(BOARDTYPE) | - | $(BOARDTYPEIDX) | - | $(TIMING_NAME) | - | SecsLastSync |  |  | In | Seconds since last synchronization
$(CBS1) | - | $(CBS2) | - | HWCF | : | $(BOARDTYPE) | - | $(BOARDTYPEIDX) | - | $(TIMING_NAME) | - | Time |  |  | In | Retrieve Time. Format (sec, ns)
$(CBS1) | - | $(CBS2) | - | HWCF | : | $(BOARDTYPE) | - | $(BOARDTYPEIDX) | - | $(TIMING_NAME) | - | HTime |  |  | In | Retrieve Time. Format - UTC
$(CBS1) | - | $(CBS2) | - | HWCF | : | $(BOARDTYPE) | - | $(BOARDTYPEIDX) | - | $(TIMING_NAME) | - | TimeSec |  |  | In | Seconds from Time PV
$(CBS1) | - | $(CBS2) | - | HWCF | : | $(BOARDTYPE) | - | $(BOARDTYPEIDX) | - | $(TIMING_NAME) | - | TimeNano |  |  | In | Nanoseconds from Time PV
Terminal
$(CBS1) | - | $(CBS2) | - | HWCF | : | $(BOARDTYPE) | - | $(BOARDTYPEIDX) | - | $(TERMINAL_NAME) | - | STM | - | getGlobalState | In | Get module global state (NDS State Machine)
$(CBS1) | - | $(CBS2) | - | HWCF | : | $(BOARDTYPE) | - | $(BOARDTYPEIDX) | - | $(TERMINAL_NAME) | - | STM | - | getState | In | Get module state (NDS State Machine)
$(CBS1) | - | $(CBS2) | - | HWCF | : | $(BOARDTYPE) | - | $(BOARDTYPEIDX) | - | $(TERMINAL_NAME) | - | STM | - | setState | Out | Set module state (NDS State Machine)
Terminal - Timestamping
$(CBS1) | - | $(CBS2) | - | HWCF | : | $(BOARDTYPE) | - | $(BOARDTYPEIDX) | - | $(TERMINAL_NAME) | - | TS | - | DecimationType | Out | Set decimation type SW/HW for this terminal
$(CBS1) | - | $(CBS2) | - | HWCF | : | $(BOARDTYPE) | - | $(BOARDTYPEIDX) | - | $(TERMINAL_NAME) | - | TS | - | Decimation | Out | NDS driver software decimation
$(CBS1) | - | $(CBS2) | - | HWCF | : | $(BOARDTYPE) | - | $(BOARDTYPEIDX) | - | $(TERMINAL_NAME) | - | TS | - | Edge | Out | Set timestamping edge detection
$(CBS1) | - | $(CBS2) | - | HWCF | : | $(BOARDTYPE) | - | $(BOARDTYPEIDX) | - | $(TERMINAL_NAME) | - | TS | - | Edge_RBV | In | Get timestamping edge detection
$(CBS1) | - | $(CBS2) | - | HWCF | : | $(BOARDTYPE) | - | $(BOARDTYPEIDX) | - | $(TERMINAL_NAME) | - | TS | - | Enable | Out | Enable/disable timestamping
$(CBS1) | - | $(CBS2) | - | HWCF | : | $(BOARDTYPE) | - | $(BOARDTYPEIDX) | - | $(TERMINAL_NAME) | - | TS | - | Enable_RBV | In | Timestamping status - enabled/disabled
$(CBS1) | - | $(CBS2) | - | HWCF | : | $(BOARDTYPE) | - | $(BOARDTYPEIDX) | - | $(TERMINAL_NAME) | - | TS | - | MaxTimestamps | In | Maximum number of timestamps
$(CBS1) | - | $(CBS2) | - | HWCF | : | $(BOARDTYPE) | - | $(BOARDTYPEIDX) | - | $(TERMINAL_NAME) | - | TS | - | Overflow | In | Get timestamps queue overflow status
$(CBS1) | - | $(CBS2) | - | HWCF | : | $(BOARDTYPE) | - | $(BOARDTYPEIDX) | - | $(TERMINAL_NAME) | - | TS | - | Timestamps | In | Get timestamp from queue
$(CBS1) | - | $(CBS2) | - | HWCF | : | $(BOARDTYPE) | - | $(BOARDTYPEIDX) | - | $(TERMINAL_NAME) | - | TS | - | TimestampsSec | In | Seconds from Timestamp PV
$(CBS1) | - | $(CBS2) | - | HWCF | : | $(BOARDTYPE) | - | $(BOARDTYPEIDX) | - | $(TERMINAL_NAME) | - | TS | - | TimestampsNano | In | Nanoseconds from Timestamp PV
$(CBS1) | - | $(CBS2) | - | HWCF | : | $(BOARDTYPE) | - | $(BOARDTYPEIDX) | - | $(TERMINAL_NAME) | - | TS | - | TimestampsID | In | ID from Timestamp PV
$(CBS1) | - | $(CBS2) | - | HWCF | : | $(BOARDTYPE) | - | $(BOARDTYPEIDX) | - | $(TERMINAL_NAME) | - | TS | - | TimestampsEdge | In | Edge from Timestamp PV
Terminal - FTE
$(CBS1) | - | $(CBS2) | - | HWCF | : | $(BOARDTYPE) | - | $(BOARDTYPEIDX) | - | $(TERMINAL_NAME) | - | FTE | - | ModeSet | Out | Mode of FTE to generate
$(CBS1) | - | $(CBS2) | - | HWCF | : | $(BOARDTYPE) | - | $(BOARDTYPEIDX) | - | $(TERMINAL_NAME) | - | FTE | - | StartTimeSet | Out | Start time of the FTE
$(CBS1) | - | $(CBS2) | - | HWCF | : | $(BOARDTYPE) | - | $(BOARDTYPEIDX) | - | $(TERMINAL_NAME) | - | FTE | - | StopTimeSet | Out | Stop time of the FTE
$(CBS1) | - | $(CBS2) | - | HWCF | : | $(BOARDTYPE) | - | $(BOARDTYPEIDX) | - | $(TERMINAL_NAME) | - | FTE | - | LevelSet | Out | Digital level of the FTE
$(CBS1) | - | $(CBS2) | - | HWCF | : | $(BOARDTYPE) | - | $(BOARDTYPEIDX) | - | $(TERMINAL_NAME) | - | FTE | - | PeriodNsecSet | Out | Period in nanoseconds for clock
$(CBS1) | - | $(CBS2) | - | HWCF | : | $(BOARDTYPE) | - | $(BOARDTYPEIDX) | - | $(TERMINAL_NAME) | - | FTE | - | DutyCycleSet | Out | Duty cycle of the clock in ns
$(CBS1) | - | $(CBS2) | - | HWCF | : | $(BOARDTYPE) | - | $(BOARDTYPEIDX) | - | $(TERMINAL_NAME) | - | FTE | - | Set | Out | Set the FTE using the parameters configured
$(CBS1) | - | $(CBS2) | - | HWCF | : | $(BOARDTYPE) | - | $(BOARDTYPEIDX) | - | $(TERMINAL_NAME) | - | FTE | - | SetStatus | In | Set FTE configuration success or error
$(CBS1) | - | $(CBS2) | - | HWCF | : | $(BOARDTYPE) | - | $(BOARDTYPEIDX) | - | $(TERMINAL_NAME) | - | FTE | - | SetCode | In | Code of success/error setting FTE configuration
$(CBS1) | - | $(CBS2) | - | HWCF | : | $(BOARDTYPE) | - | $(BOARDTYPEIDX) | - | $(TERMINAL_NAME) | - | FTE | - | StartTimeSuppress | Out | Start time on FTE suppression
$(CBS1) | - | $(CBS2) | - | HWCF | : | $(BOARDTYPE) | - | $(BOARDTYPEIDX) | - | $(TERMINAL_NAME) | - | FTE | - | ModeSuppress | Out | Mode of suppress FTE/clock
$(CBS1) | - | $(CBS2) | - | HWCF | : | $(BOARDTYPE) | - | $(BOARDTYPEIDX) | - | $(TERMINAL_NAME) | - | FTE | - | AllSuppress | Out | Suppress one or suppress all FTEs
$(CBS1) | - | $(CBS2) | - | HWCF | : | $(BOARDTYPE) | - | $(BOARDTYPEIDX) | - | $(TERMINAL_NAME) | - | FTE | - | Suppress | Out | Apply configured suppress
$(CBS1) | - | $(CBS2) | - | HWCF | : | $(BOARDTYPE) | - | $(BOARDTYPEIDX) | - | $(TERMINAL_NAME) | - | FTE | - | SuppressCode | In | Success/error on FTE suppression
$(CBS1) | - | $(CBS2) | - | HWCF | : | $(BOARDTYPE) | - | $(BOARDTYPEIDX) | - | $(TERMINAL_NAME) | - | FTE | - | SuppressStatus | In | Report on FTE suppression
$(CBS1) | - | $(CBS2) | - | HWCF | : | $(BOARDTYPE) | - | $(BOARDTYPEIDX) | - | $(TERMINAL_NAME) | - | FTE | - | TerminalChgPeriod | Out | Terminal to change the period of FTE
$(CBS1) | - | $(CBS2) | - | HWCF | : | $(BOARDTYPE) | - | $(BOARDTYPEIDX) | - | $(TERMINAL_NAME) | - | FTE | - | PeriodChgPeriod | Out | Period in nanoseconds to change on FTE
$(CBS1) | - | $(CBS2) | - | HWCF | : | $(BOARDTYPE) | - | $(BOARDTYPEIDX) | - | $(TERMINAL_NAME) | - | FTE | - | ChgPeriod | Out | Change the period
$(CBS1) | - | $(CBS2) | - | HWCF | : | $(BOARDTYPE) | - | $(BOARDTYPEIDX) | - | $(TERMINAL_NAME) | - | FTE | - | ChgPeriodStatus | Out | FTE clock period change
$(CBS1) | - | $(CBS2) | - | HWCF | : | $(BOARDTYPE) | - | $(BOARDTYPEIDX) | - | $(TERMINAL_NAME) | - | FTE | - | ChgPeriodCode | In | Success/error on FTE changing
$(CBS1) | - | $(CBS2) | - | HWCF | : | $(BOARDTYPE) | - | $(BOARDTYPEIDX) | - | $(TERMINAL_NAME) | - | FTE | - | TerminalPending | Out | Update pending value
$(CBS1) | - | $(CBS2) | - | HWCF | : | $(BOARDTYPE) | - | $(BOARDTYPEIDX) | - | $(TERMINAL_NAME) | - | FTE | - | PendingValue | In | Pending FTEs in the terminal
$(CBS1) | - | $(CBS2) | - | HWCF | : | $(BOARDTYPE) | - | $(BOARDTYPEIDX) | - | $(TERMINAL_NAME) | - | FTE | - | PendingStatus | In | Get pending FTEs
$(CBS1) | - | $(CBS2) | - | HWCF | : | $(BOARDTYPE) | - | $(BOARDTYPEIDX) | - | $(TERMINAL_NAME) | - | FTE | - | PendingCode | In | Success/error on getting pending FTEs
$(CBS1) | - | $(CBS2) | - | HWCF | : | $(BOARDTYPE) | - | $(BOARDTYPEIDX) | - | $(TERMINAL_NAME) | - | FTE | - | Maximum | In | Get maximum number of FTEs
Routing
$(CBS1) | - | $(CBS2) | - | HWCF | : | $(BOARDTYPE) | - | $(BOARDTYPEIDX) | - | $(ROUTING_NAME) | - | STM | - | getState | In | Get module state (NDS State Machine)
$(CBS1) | - | $(CBS2) | - | HWCF | : | $(BOARDTYPE) | - | $(BOARDTYPEIDX) | - | $(ROUTING_NAME) | - | STM | - | setState | Out | Set module state (NDS State Machine)
$(CBS1) | - | $(CBS2) | - | HWCF | : | $(BOARDTYPE) | - | $(BOARDTYPEIDX) | - | $(ROUTING_NAME) | - | ClkSrc |  |  | Out | Source clock
$(CBS1) | - | $(CBS2) | - | HWCF | : | $(BOARDTYPE) | - | $(BOARDTYPEIDX) | - | $(ROUTING_NAME) | - | ClkDst |  |  | Out | Terminal where the clock will be connected
$(CBS1) | - | $(CBS2) | - | HWCF | : | $(BOARDTYPE) | - | $(BOARDTYPEIDX) | - | $(ROUTING_NAME) | - | ClkSet |  |  | Out | Route the clock source to destination
$(CBS1) | - | $(CBS2) | - | HWCF | : | $(BOARDTYPE) | - | $(BOARDTYPEIDX) | - | $(ROUTING_NAME) | - | ClkSetStatus |  |  | In | Clock routing set status message
$(CBS1) | - | $(CBS2) | - | HWCF | : | $(BOARDTYPE) | - | $(BOARDTYPEIDX) | - | $(ROUTING_NAME) | - | ClkSetCode |  |  | In | Clock routing set status code
$(CBS1) | - | $(CBS2) | - | HWCF | : | $(BOARDTYPE) | - | $(BOARDTYPEIDX) | - | $(ROUTING_NAME) | - | ClkDstRead |  |  | Out | Clock destination connection configuration read
$(CBS1) | - | $(CBS2) | - | HWCF | : | $(BOARDTYPE) | - | $(BOARDTYPEIDX) | - | $(ROUTING_NAME) | - | ClkSrcRead |  |  | In | Clock source of selected clock destination
$(CBS1) | - | $(CBS2) | - | HWCF | : | $(BOARDTYPE) | - | $(BOARDTYPEIDX) | - | $(ROUTING_NAME) | - | TermSrc |  |  | Out | Terminal source
$(CBS1) | - | $(CBS2) | - | HWCF | : | $(BOARDTYPE) | - | $(BOARDTYPEIDX) | - | $(ROUTING_NAME) | - | TermDst |  |  | Out | Terminal destination
$(CBS1) | - | $(CBS2) | - | HWCF | : | $(BOARDTYPE) | - | $(BOARDTYPEIDX) | - | $(ROUTING_NAME) | - | TermSyncSet |  |  | Out | Terminal sync mode set
$(CBS1) | - | $(CBS2) | - | HWCF | : | $(BOARDTYPE) | - | $(BOARDTYPEIDX) | - | $(ROUTING_NAME) | - | TermInverSet |  |  | Out | Terminal inversion mode set
$(CBS1) | - | $(CBS2) | - | HWCF | : | $(BOARDTYPE) | - | $(BOARDTYPEIDX) | - | $(ROUTING_NAME) | - | TermSet |  |  | Out | Terminal routing set
$(CBS1) | - | $(CBS2) | - | HWCF | : | $(BOARDTYPE) | - | $(BOARDTYPEIDX) | - | $(ROUTING_NAME) | - | TermSetStatus |  |  | In | Terminal routing set status message
$(CBS1) | - | $(CBS2) | - | HWCF | : | $(BOARDTYPE) | - | $(BOARDTYPEIDX) | - | $(ROUTING_NAME) | - | TermSetCode |  |  | In | Terminal routing set status code
$(CBS1) | - | $(CBS2) | - | HWCF | : | $(BOARDTYPE) | - | $(BOARDTYPEIDX) | - | $(ROUTING_NAME) | - | TermDstRead |  |  | Out | Terminal destination connection configuration read
$(CBS1) | - | $(CBS2) | - | HWCF | : | $(BOARDTYPE) | - | $(BOARDTYPEIDX) | - | $(ROUTING_NAME) | - | TermSrcRead |  |  | In | Terminal source of selected terminal destination
$(CBS1) | - | $(CBS2) | - | HWCF | : | $(BOARDTYPE) | - | $(BOARDTYPEIDX) | - | $(ROUTING_NAME) | - | TermSyncRead |  |  | In | Terminal sync mode of selected terminal destination
$(CBS1) | - | $(CBS2) | - | HWCF | : | $(BOARDTYPE) | - | $(BOARDTYPEIDX) | - | $(ROUTING_NAME) | - | TermInvertRead |  |  | In | Terminal invert mode of selected terminal destination

## Timing Module (PXIe 6683H)_S
$(CBS1) | D1
$(CBS2) | LF
$(BOARDTYPE) | NISYNC
$(BOARDTYPEIDX) | 0
$(FIRMWARE_NAME) | FIRM
$(TIMING_NAME) | TIMING
$(TERMINAL_NAME) | TR0 | TR1 | TR2
$(ROUTING_NAME) | ROUTING

## HXRM Module (PXIe 7966R)
Variable name | [14 empty] | In/Out In - from device Out - to device | Description | Hardware Allocation
Device
$(CBS1) | - | $(CBS2) | - | HWCF | : | $(BOARDTYPE) | - | $(BOARDTYPEIDX) | - | ErrorSev |  |  |  |  | In | Get error severity | 550000-PCF-0001
$(CBS1) | - | $(CBS2) | - | HWCF | : | $(BOARDTYPE) | - | $(BOARDTYPEIDX) | - | ErrorSrc |  |  |  |  | In | Get error source | 550000-PCF-0001
$(CBS1) | - | $(CBS2) | - | HWCF | : | $(BOARDTYPE) | - | $(BOARDTYPEIDX) | - | ErrorMsg |  |  |  |  | In | Get error message | 550000-PCF-0001
State Machine
$(CBS1) | - | $(CBS2) | - | HWCF | : | $(BOARDTYPE) | - | $(BOARDTYPEIDX) | - | StateMachine | - | getState |  |  | In | Get device state (NDS State Machine) | 550000-PCF-0001
$(CBS1) | - | $(CBS2) | - | HWCF | : | $(BOARDTYPE) | - | $(BOARDTYPEIDX) | - | StateMachine | - | setState |  |  | Out | Set device state (NDS State Machine) | 550000-PCF-0001
Firmware
$(CBS1) | - | $(CBS2) | - | HWCF | : | $(BOARDTYPE) | - | $(BOARDTYPEIDX) | - | $(FIRMWARE_NAME) | - | STM | - | getState | In | Get module state (NDS State Machine) | 550000-PCF-0001
$(CBS1) | - | $(CBS2) | - | HWCF | : | $(BOARDTYPE) | - | $(BOARDTYPEIDX) | - | $(FIRMWARE_NAME) | - | STM | - | setState | Out | Set module state (NDS State Machine) | 550000-PCF-0001
$(CBS1) | - | $(CBS2) | - | HWCF | : | $(BOARDTYPE) | - | $(BOARDTYPEIDX) | - | $(FIRMWARE_NAME) | - | Version |  |  | In | Get firmware version | 550000-PCF-0001
$(CBS1) | - | $(CBS2) | - | HWCF | : | $(BOARDTYPE) | - | $(BOARDTYPEIDX) | - | $(FIRMWARE_NAME) | - | HWRevision |  |  | In | Get HW revision | 550000-PCF-0001
$(CBS1) | - | $(CBS2) | - | HWCF | : | $(BOARDTYPE) | - | $(BOARDTYPEIDX) | - | $(FIRMWARE_NAME) | - | SerialNumber |  |  | In | Get serial number | 550000-PCF-0001
$(CBS1) | - | $(CBS2) | - | HWCF | : | $(BOARDTYPE) | - | $(BOARDTYPEIDX) | - | $(FIRMWARE_NAME) | - | Model |  |  | In | Get device model | 550000-PCF-0001
$(CBS1) | - | $(CBS2) | - | HWCF | : | $(BOARDTYPE) | - | $(BOARDTYPEIDX) | - | $(FIRMWARE_NAME) | - | Type |  |  | In | Get device type | 550000-PCF-0001
$(CBS1) | - | $(CBS2) | - | HWCF | : | $(BOARDTYPE) | - | $(BOARDTYPEIDX) | - | $(FIRMWARE_NAME) | - | DriverVersion |  |  | In | Get driver version | 550000-PCF-0001
$(CBS1) | - | $(CBS2) | - | HWCF | : | $(BOARDTYPE) | - | $(BOARDTYPEIDX) | - | $(FIRMWARE_NAME) | - | Status |  |  | In | Get status | 550000-PCF-0001
Triggering
$(CBS1) | - | $(CBS2) | - | HWCF | : | $(BOARDTYPE) | - | $(BOARDTYPEIDX) | - | $(TRIGGERING_NAME) | - | STM | - | getState | In | Get module state (NDS State Machine) | 550000-PCF-0001
$(CBS1) | - | $(CBS2) | - | HWCF | : | $(BOARDTYPE) | - | $(BOARDTYPEIDX) | - | $(TRIGGERING_NAME) | - | STM | - | setState | Out | Set module state (NDS State Machine) | 550000-PCF-0001
$(CBS1) | - | $(CBS2) | - | HWCF | : | $(BOARDTYPE) | - | $(BOARDTYPEIDX) | - | $(TRIGGERING_NAME) | - | StartLine |  |  | Out | Select line for start trigger | 550000-PCF-0001
$(CBS1) | - | $(CBS2) | - | HWCF | : | $(BOARDTYPE) | - | $(BOARDTYPEIDX) | - | $(TRIGGERING_NAME) | - | StartEdge |  |  | Out | Select edge for start trigger | 550000-PCF-0001
$(CBS1) | - | $(CBS2) | - | HWCF | : | $(BOARDTYPE) | - | $(BOARDTYPEIDX) | - | $(TRIGGERING_NAME) | - | StarSoft |  |  | Out | Generate start trigger from software | 550000-PCF-0001
$(CBS1) | - | $(CBS2) | - | HWCF | : | $(BOARDTYPE) | - | $(BOARDTYPEIDX) | - | $(TRIGGERING_NAME) | - | StopLine |  |  | Out | Select line for stop trigger | 550000-PCF-0001
$(CBS1) | - | $(CBS2) | - | HWCF | : | $(BOARDTYPE) | - | $(BOARDTYPEIDX) | - | $(TRIGGERING_NAME) | - | StopEdge |  |  | Out | Select edge for stop trigger | 550000-PCF-0001
$(CBS1) | - | $(CBS2) | - | HWCF | : | $(BOARDTYPE) | - | $(BOARDTYPEIDX) | - | $(TRIGGERING_NAME) | - | StopSoft |  |  | Out | Generate stop trigger from software | 550000-PCF-0001
$(CBS1) | - | $(CBS2) | - | HWCF | : | $(BOARDTYPE) | - | $(BOARDTYPEIDX) | - | $(TRIGGERING_NAME) | - | PulseLine |  |  | Out | Select line for timestamping pulses | 550000-PCF-0001
$(CBS1) | - | $(CBS2) | - | HWCF | : | $(BOARDTYPE) | - | $(BOARDTYPEIDX) | - | $(TRIGGERING_NAME) | - | PulseEdge |  |  | Out | Select edge for timestamping pulses | 550000-PCF-0001
HQ Mon (Health Monitoring)
$(CBS1) | - | $(CBS2) | - | HWCF | : | $(BOARDTYPE) | - | $(BOARDTYPEIDX) | - | HQMON | - | Temperature |  |  | In | Get device temperature
$(CBS1) | - | $(CBS2) | - | HWCF | : | $(BOARDTYPE) | - | $(BOARDTYPEIDX) | - | HQMON | - | AcquisitionStatus |  |  | In | Get acquisition status
Stream (DMA)
$(CBS1) | - | $(CBS2) | - | HWCF | : | $(BOARDTYPE) | - | $(BOARDTYPEIDX) | - | $(STREAM_NAME) | - | STM | - | getState | In | Get module state (NDS State Machine)
$(CBS1) | - | $(CBS2) | - | HWCF | : | $(BOARDTYPE) | - | $(BOARDTYPEIDX) | - | $(STREAM_NAME) | - | STM | - | setState | Out | Set module state (NDS State Machine)
$(CBS1) | - | $(CBS2) | - | HWCF | : | $(BOARDTYPE) | - | $(BOARDTYPEIDX) | - | $(STREAM_NAME) | - | Enable |  |  | Out | Enable data stream
$(CBS1) | - | $(CBS2) | - | HWCF | : | $(BOARDTYPE) | - | $(BOARDTYPEIDX) | - | $(STREAM_NAME) | - | BufferSize |  |  | Out | Set buffer size
$(CBS1) | - | $(CBS2) | - | HWCF | : | $(BOARDTYPE) | - | $(BOARDTYPEIDX) | - | $(STREAM_NAME) | - | Channels |  |  | Out | Select channels
$(CBS1) | - | $(CBS2) | - | HWCF | : | $(BOARDTYPE) | - | $(BOARDTYPEIDX) | - | $(STREAM_NAME) | - | Overflow |  |  | In | Get overflow flag
HXRM Channel
$(CBS1) | - | $(CBS2) | - | HWCF | : | $(BOARDTYPE) | - | $(BOARDTYPEIDX) | - | $(CH_ID) | - | STM | - | getState | In | Get module state (NDS State Machine)
$(CBS1) | - | $(CBS2) | - | HWCF | : | $(BOARDTYPE) | - | $(BOARDTYPEIDX) | - | $(CH_ID) | - | STM | - | setState | Out | Set module state (NDS State Machine)
HXRM Channel - ADC
$(CBS1) | - | $(CBS2) | - | HWCF | : | $(BOARDTYPE) | - | $(BOARDTYPEIDX) | - | $(CH_ID) | - | ADC | - | Source | Out | Select data source (ADC input, dumy image generator, etc.)
$(CBS1) | - | $(CBS2) | - | HWCF | : | $(BOARDTYPE) | - | $(BOARDTYPEIDX) | - | $(CH_ID) | - | ADC | - | SourceConfError | In | Get configuration error for ADC source
$(CBS1) | - | $(CBS2) | - | HWCF | : | $(BOARDTYPE) | - | $(BOARDTYPEIDX) | - | $(CH_ID) | - | ADC | - | SamplingFreq | Out | Set sampling frequency
$(CBS1) | - | $(CBS2) | - | HWCF | : | $(BOARDTYPE) | - | $(BOARDTYPEIDX) | - | $(CH_ID) | - | ADC | - | SamplingFreq_RBV | In | Get current value of sampling frequency
$(CBS1) | - | $(CBS2) | - | HWCF | : | $(BOARDTYPE) | - | $(BOARDTYPEIDX) | - | $(CH_ID) | - | ADC | - | RawData | In | Get raw data (decimated raw data for HMI presentation purposes)
$(CBS1) | - | $(CBS2) | - | HWCF | : | $(BOARDTYPE) | - | $(BOARDTYPEIDX) | - | $(CH_ID) | - | ADC | - | Coupling | In | Get information about ADC coupling (AC/DC)
$(CBS1) | - | $(CBS2) | - | HWCF | : | $(BOARDTYPE) | - | $(BOARDTYPEIDX) | - | $(CH_ID) | - | ADC | - | HMITriggerMode | Out | Set trigger mode for HMI raw data
$(CBS1) | - | $(CBS2) | - | HWCF | : | $(BOARDTYPE) | - | $(BOARDTYPEIDX) | - | $(CH_ID) | - | ADC | - | HMITriggerLevel | Out | Set trigger level for HMI raw data
$(CBS1) | - | $(CBS2) | - | HWCF | : | $(BOARDTYPE) | - | $(BOARDTYPEIDX) | - | $(CH_ID) | - | ADC | - | HMITriggerDelay | Out | Set trigger delay for HMI raw data
HXRM Channel - ADC Calibration
$(CBS1) | - | $(CBS2) | - | HWCF | : | $(BOARDTYPE) | - | $(BOARDTYPEIDX) | - | $(CH_ID) | - | CALIB | - | OffsetLevel | Out | Set offset level
$(CBS1) | - | $(CBS2) | - | HWCF | : | $(BOARDTYPE) | - | $(BOARDTYPEIDX) | - | $(CH_ID) | - | CALIB | - | OffsetLevel_RBV | In | Read current value of offset level
$(CBS1) | - | $(CBS2) | - | HWCF | : | $(BOARDTYPE) | - | $(BOARDTYPEIDX) | - | $(CH_ID) | - | CALIB | - | CalibrationMode | Out | Set calibration mode (apply/obtain/disabled)
$(CBS1) | - | $(CBS2) | - | HWCF | : | $(BOARDTYPE) | - | $(BOARDTYPEIDX) | - | $(CH_ID) | - | CALIB | - | CalibrationModeError | In | Get error for calibration mode
$(CBS1) | - | $(CBS2) | - | HWCF | : | $(BOARDTYPE) | - | $(BOARDTYPEIDX) | - | $(CH_ID) | - | CALIB | - | OffsetCalibrationError | In | Get error for calibration offset value
HXRM Channel - Pulse Detection
$(CBS1) | - | $(CBS2) | - | HWCF | : | $(BOARDTYPE) | - | $(BOARDTYPEIDX) | - | $(CH_ID) | - | PULSE_DET | - | HeightMin | Out | Set minimum pulse height
$(CBS1) | - | $(CBS2) | - | HWCF | : | $(BOARDTYPE) | - | $(BOARDTYPEIDX) | - | $(CH_ID) | - | PULSE_DET | - | HeightMin_RBV | In | Get current value of minimum pulse height
$(CBS1) | - | $(CBS2) | - | HWCF | : | $(BOARDTYPE) | - | $(BOARDTYPEIDX) | - | $(CH_ID) | - | PULSE_DET | - | WidthMin | Out | Set minimum pulse width
$(CBS1) | - | $(CBS2) | - | HWCF | : | $(BOARDTYPE) | - | $(BOARDTYPEIDX) | - | $(CH_ID) | - | PULSE_DET | - | WidthMin_RBV | In | Get current value of minimum pulse width
$(CBS1) | - | $(CBS2) | - | HWCF | : | $(BOARDTYPE) | - | $(BOARDTYPEIDX) | - | $(CH_ID) | - | PULSE_DET | - | WidthMax | Out | Set maximum pulse width
$(CBS1) | - | $(CBS2) | - | HWCF | : | $(BOARDTYPE) | - | $(BOARDTYPEIDX) | - | $(CH_ID) | - | PULSE_DET | - | WidthMax_RBV | In | Get current value of maximum pulse width
$(CBS1) | - | $(CBS2) | - | HWCF | : | $(BOARDTYPE) | - | $(BOARDTYPEIDX) | - | $(CH_ID) | - | PULSE_DET | - | DropOff | Out | Set pulse dropoff level factor
$(CBS1) | - | $(CBS2) | - | HWCF | : | $(BOARDTYPE) | - | $(BOARDTYPEIDX) | - | $(CH_ID) | - | PULSE_DET | - | DropOff_RBV | In | Get current value of pulse dropoff level factor
HXRM Channel - Spectrum
$(CBS1) | - | $(CBS2) | - | HWCF | : | $(BOARDTYPE) | - | $(BOARDTYPEIDX) | - | $(CH_ID) | - | SPECTR | - | ViewHeightMin | Out | Set pulse spectrum height min
$(CBS1) | - | $(CBS2) | - | HWCF | : | $(BOARDTYPE) | - | $(BOARDTYPEIDX) | - | $(CH_ID) | - | SPECTR | - | ViewHeightMin_RBV | In | Get pulse spectrum height min
$(CBS1) | - | $(CBS2) | - | HWCF | : | $(BOARDTYPE) | - | $(BOARDTYPEIDX) | - | $(CH_ID) | - | SPECTR | - | ViewHeightMax | Out | Set pulse spectrum height max
$(CBS1) | - | $(CBS2) | - | HWCF | : | $(BOARDTYPE) | - | $(BOARDTYPEIDX) | - | $(CH_ID) | - | SPECTR | - | ViewHeightMax_RBV | In | Get pulse spectrum height max
$(CBS1) | - | $(CBS2) | - | HWCF | : | $(BOARDTYPE) | - | $(BOARDTYPEIDX) | - | $(CH_ID) | - | SPECTR | - | Period | Out | Set period for spectrum calculation
$(CBS1) | - | $(CBS2) | - | HWCF | : | $(BOARDTYPE) | - | $(BOARDTYPEIDX) | - | $(CH_ID) | - | SPECTR | - | Period_RBV | In | Get period for spectrum calculation
$(CBS1) | - | $(CBS2) | - | HWCF | : | $(BOARDTYPE) | - | $(BOARDTYPEIDX) | - | $(CH_ID) | - | SPECTR | - | PeriodConfigurationError | In | Get error for spectrum period value
$(CBS1) | - | $(CBS2) | - | HWCF | : | $(BOARDTYPE) | - | $(BOARDTYPEIDX) | - | $(CH_ID) | - | SPECTR | - | PulsesCount | In | Get total number of HXR pulses within the specified period
$(CBS1) | - | $(CBS2) | - | HWCF | : | $(BOARDTYPE) | - | $(BOARDTYPEIDX) | - | $(CH_ID) | - | SPECTR | - | PulsesSpectr | In | Get spectrum of HXR photons within the specified period
DAN
$(CBS1) | - | $(CBS2) | - | HWCF | : | $(BOARDTYPE) | - | $(BOARDTYPEIDX) | - | $(DAN_NAME) | - | STM | - | getState | In | Get module state (NDS State Machine)
$(CBS1) | - | $(CBS2) | - | HWCF | : | $(BOARDTYPE) | - | $(BOARDTYPEIDX) | - | $(DAN_NAME) | - | STM | - | setState | Out | Set module state (NDS State Machine)
$(CBS1) | - | $(CBS2) | - | HWCF | : | $(BOARDTYPE) | - | $(BOARDTYPEIDX) | - | $(DAN_NAME) | - | Enable |  |  | Out | Enable DAN
$(CBS1) | - | $(CBS2) | - | HWCF | : | $(BOARDTYPE) | - | $(BOARDTYPEIDX) | - | $(DAN_NAME) | - | StreamName |  |  | In | Get DAN stream name
$(CBS1) | - | $(CBS2) | - | HWCF | : | $(BOARDTYPE) | - | $(BOARDTYPEIDX) | - | $(DAN_NAME) | - | Overflow |  |  | In | Get overflow flag
SDN
$(CBS1) | - | $(CBS2) | - | HWCF | : | $(BOARDTYPE) | - | $(BOARDTYPEIDX) | - | $(SDN_NAME) | - | STM | - | getState | In | Get module state (NDS State Machine)
$(CBS1) | - | $(CBS2) | - | HWCF | : | $(BOARDTYPE) | - | $(BOARDTYPEIDX) | - | $(SDN_NAME) | - | STM | - | setState | Out | Set module state (NDS State Machine)
$(CBS1) | - | $(CBS2) | - | HWCF | : | $(BOARDTYPE) | - | $(BOARDTYPEIDX) | - | $(SDN_NAME) | - | Enable |  |  | Out | Enable SDN
$(CBS1) | - | $(CBS2) | - | HWCF | : | $(BOARDTYPE) | - | $(BOARDTYPEIDX) | - | $(SDN_NAME) | - | StreamName |  |  | In | Get SDN stream name
$(CBS1) | - | $(CBS2) | - | HWCF | : | $(BOARDTYPE) | - | $(BOARDTYPEIDX) | - | $(SDN_NAME) | - | Overflow |  |  | In | Get overflow flag

## HXRM Module (PXIe 7966R)_S
$(CBS1) | D1
$(CBS2) | LF
$(BOARDTYPE) | HXRM
$(BOARDTYPEIDX) | 0
$(FIRMWARE_NAME) | FIRM
$(TRIGGERING_NAME) | TRIG
$(STREAM_NAME) | STREAM_RAW | STREAM_MEAS
$(CH_ID) | CH0 | CH1
$(DAN_NAME) | DAN_RAW
$(SDN_NAME) | SDN

## HV Power Supply
Variable name | [12 empty] | In/Out In - from device Out - to device | Description | Hardware Allocation
Device
$(CBS1) | - | $(CBS2) | - | HWCF | : | $(BOARDTYPE) | - | $(BOARDTYPEIDX) | - | ErrorSev |  |  | In | Get error severity | 550000-PCF-0001
$(CBS1) | - | $(CBS2) | - | HWCF | : | $(BOARDTYPE) | - | $(BOARDTYPEIDX) | - | ErrorSrc |  |  | In | Get error source | 550000-PCF-0001
$(CBS1) | - | $(CBS2) | - | HWCF | : | $(BOARDTYPE) | - | $(BOARDTYPEIDX) | - | ErrorMsg |  |  | In | Get error message | 550000-PCF-0001
State Machine
$(CBS1) | - | $(CBS2) | - | HWCF | : | $(BOARDTYPE) | - | $(BOARDTYPEIDX) | - | StateMachine | - | getState | In | Get device state (NDS State Machine) | 550000-PCF-0001
$(CBS1) | - | $(CBS2) | - | HWCF | : | $(BOARDTYPE) | - | $(BOARDTYPEIDX) | - | StateMachine | - | setState | Out | Set device state (NDS State Machine) | 550000-PCF-0001
HV Power Supply
$(CBS1) | - | $(CBS2) | - | HWCF | : | $(BOARDTYPE) | - | $(BOARDTYPEIDX) | - | OutputEnable |  |  | Out | On/off device output | 550000-PCF-0001
$(CBS1) | - | $(CBS2) | - | HWCF | : | $(BOARDTYPE) | - | $(BOARDTYPEIDX) | - | OutputEnable_RBV |  |  | In | Read state of device output | 550000-PCF-0001
$(CBS1) | - | $(CBS2) | - | HWCF | : | $(BOARDTYPE) | - | $(BOARDTYPEIDX) | - | Voltage |  |  | Out | Set output voltage | 550000-PCF-0001
$(CBS1) | - | $(CBS2) | - | HWCF | : | $(BOARDTYPE) | - | $(BOARDTYPEIDX) | - | Voltage_RBV |  |  | In | Get output voltage | 550000-PCF-0001
$(CBS1) | - | $(CBS2) | - | HWCF | : | $(BOARDTYPE) | - | $(BOARDTYPEIDX) | - | CurrentMeas |  |  | In | Get output current | 550000-PCF-0001
$(CBS1) | - | $(CBS2) | - | HWCF | : | $(BOARDTYPE) | - | $(BOARDTYPEIDX) | - | VoltageMeas |  |  | In | Get value from analog input | 550000-PCF-0001
$(CBS1) | - | $(CBS2) | - | HWCF | : | $(BOARDTYPE) | - | $(BOARDTYPEIDX) | - | Version |  |  | In | Get firmware version | 550000-PCF-0001
$(CBS1) | - | $(CBS2) | - | HWCF | : | $(BOARDTYPE) | - | $(BOARDTYPEIDX) | - | DevAddress |  |  | In | Get device address version | 550000-PCF-0001

## HV Power Supply_S
$(CBS1) | D1
$(CBS2) | LF
$(BOARDTYPE) | HVPS
$(BOARDTYPEIDX) | 0 | 1 | 2 | 3

## LED Controller
Variable name | [12 empty] | In/Out In - from device Out - to device | Description | Hardware Allocation
Device
$(CBS1) | - | $(CBS2) | - | HWCF | : | $(BOARDTYPE) | - | $(BOARDTYPEIDX) | - | ErrorSev |  |  | In | Get error severity | 550000-PCF-0001
$(CBS1) | - | $(CBS2) | - | HWCF | : | $(BOARDTYPE) | - | $(BOARDTYPEIDX) | - | ErrorSrc |  |  | In | Get error source | 550000-PCF-0001
$(CBS1) | - | $(CBS2) | - | HWCF | : | $(BOARDTYPE) | - | $(BOARDTYPEIDX) | - | ErrorMsg |  |  | In | Get error message | 550000-PCF-0001
State Machine
$(CBS1) | - | $(CBS2) | - | HWCF | : | $(BOARDTYPE) | - | $(BOARDTYPEIDX) | - | StateMachine | - | getState | In | Get device state (NDS State Machine) | 550000-PCF-0001
$(CBS1) | - | $(CBS2) | - | HWCF | : | $(BOARDTYPE) | - | $(BOARDTYPEIDX) | - | StateMachine | - | setState | Out | Set device state (NDS State Machine) | 550000-PCF-0001
Status
$(CBS1) | - | $(CBS2) | - | HWCF | : | $(BOARDTYPE) | - | $(BOARDTYPEIDX) | - | DeviceAddress |  |  | In | Read device address | 550000-PCF-0001
$(CBS1) | - | $(CBS2) | - | HWCF | : | $(BOARDTYPE) | - | $(BOARDTYPEIDX) | - | FirmwareVersion |  |  | In | Read firmare version | 550000-PCF-0001
$(CBS1) | - | $(CBS2) | - | HWCF | : | $(BOARDTYPE) | - | $(BOARDTYPEIDX) | - | DeviceVersion |  |  | In | Read device version | 550000-PCF-0001
LED Control
$(CBS1) | - | $(CBS2) | - | HWCF | : | $(BOARDTYPE) | - | $(BOARDTYPEIDX) | - | $(LED_ID) | - | Current | Out | Set LED current | 550000-PCF-0001
$(CBS1) | - | $(CBS2) | - | HWCF | : | $(BOARDTYPE) | - | $(BOARDTYPEIDX) | - | $(LED_ID) | - | Current_RBV | In | Read value of LED current | 550000-PCF-0001
$(CBS1) | - | $(CBS2) | - | HWCF | : | $(BOARDTYPE) | - | $(BOARDTYPEIDX) | - | $(LED_ID) | - | Voltage | In | Read value of LED voltage | 550000-PCF-0001

## LED Controller_S
$(CBS1) | D1
$(CBS2) | LF
$(BOARDTYPE) | LEDCTRL
$(BOARDTYPEIDX) | 0 | 1 | 2
$(LED_ID) | LED0 | LED1

## LED Blinker
Variable name | [14 empty] | In/Out In - from device Out - to device | Description | Hardware Allocation
Device
$(CBS1) | - | $(CBS2) | - | HWCF | : | $(BOARDTYPE) | - | $(BOARDTYPEIDX) | - | ErrorSev |  |  |  |  | In | Get error severity | 550000-PCF-0001
$(CBS1) | - | $(CBS2) | - | HWCF | : | $(BOARDTYPE) | - | $(BOARDTYPEIDX) | - | ErrorSrc |  |  |  |  | In | Get error source | 550000-PCF-0001
$(CBS1) | - | $(CBS2) | - | HWCF | : | $(BOARDTYPE) | - | $(BOARDTYPEIDX) | - | ErrorMsg |  |  |  |  | In | Get error message | 550000-PCF-0001
State Machine
$(CBS1) | - | $(CBS2) | - | HWCF | : | $(BOARDTYPE) | - | $(BOARDTYPEIDX) | - | StateMachine | - | getState |  |  | In | Get device state (NDS State Machine) | 550000-PCF-0001
$(CBS1) | - | $(CBS2) | - | HWCF | : | $(BOARDTYPE) | - | $(BOARDTYPEIDX) | - | StateMachine | - | setState |  |  | Out | Set device state (NDS State Machine) | 550000-PCF-0001
LED Triggering (interface to PXIe 6368)
$(CBS1) | - | $(CBS2) | - | HWCF | : | $(BOARDTYPE) | - | $(BOARDTYPEIDX) | - | LEDTRIG | - | STM | - | getState | In | Get module state (NDS State Machine) | 550000-PCF-0001
$(CBS1) | - | $(CBS2) | - | HWCF | : | $(BOARDTYPE) | - | $(BOARDTYPEIDX) | - | LEDTRIG | - | STM | - | setState | Out | Set module state (NDS State Machine) | 550000-PCF-0001
$(CBS1) | - | $(CBS2) | - | HWCF | : | $(BOARDTYPE) | - | $(BOARDTYPEIDX) | - | LEDTRIG | - | OperationMode |  |  | Out | Set operation mode (LED on/off/blinking) | 550000-PCF-0001
$(CBS1) | - | $(CBS2) | - | HWCF | : | $(BOARDTYPE) | - | $(BOARDTYPEIDX) | - | LEDTRIG | - | TriggerMode |  |  | Out | Set trigger mode (software/hardware) | 550000-PCF-0001
$(CBS1) | - | $(CBS2) | - | HWCF | : | $(BOARDTYPE) | - | $(BOARDTYPEIDX) | - | LEDTRIG | - | BurstPeriod |  |  | Out | Set LED burst period | 550000-PCF-0001
$(CBS1) | - | $(CBS2) | - | HWCF | : | $(BOARDTYPE) | - | $(BOARDTYPEIDX) | - | LEDTRIG | - | $(LED_ID) | - | Enable | Out | Enable LED output | 550000-PCF-0001
$(CBS1) | - | $(CBS2) | - | HWCF | : | $(BOARDTYPE) | - | $(BOARDTYPEIDX) | - | LEDTRIG | - | $(LED_ID) | - | PulseLength | Out | Set LED pulse length | 550000-PCF-0001
$(CBS1) | - | $(CBS2) | - | HWCF | : | $(BOARDTYPE) | - | $(BOARDTYPEIDX) | - | LEDTRIG | - | $(LED_ID) | - | PulsePeriod | Out | Set LED pulse period (period of pulses within single burst) | 550000-PCF-0001
$(CBS1) | - | $(CBS2) | - | HWCF | : | $(BOARDTYPE) | - | $(BOARDTYPEIDX) | - | LEDTRIG | - | $(LED_ID) | - | BurstLength | Out | Set LED burst length | 550000-PCF-0001
$(CBS1) | - | $(CBS2) | - | HWCF | : | $(BOARDTYPE) | - | $(BOARDTYPEIDX) | - | LEDTRIG | - | $(LED_ID) | - | BurstDelay | Out | Set LED burst delay | 550000-PCF-0001
LED Controller (interface to LED Controller device)
$(CBS1) | - | $(CBS2) | - | HWCF | : | $(BOARDTYPE) | - | $(BOARDTYPEIDX) | - | LEDCTRL | - | STM | - | getState | In | Get module state (NDS State Machine) | 550000-PCF-0001
$(CBS1) | - | $(CBS2) | - | HWCF | : | $(BOARDTYPE) | - | $(BOARDTYPEIDX) | - | LEDCTRL | - | STM | - | setState | Out | Set module state (NDS State Machine) | 550000-PCF-0001
$(CBS1) | - | $(CBS2) | - | HWCF | : | $(BOARDTYPE) | - | $(BOARDTYPEIDX) | - | LEDCTRL | - | DeviceAddress |  |  | In | Read device address | 550000-PCF-0001
$(CBS1) | - | $(CBS2) | - | HWCF | : | $(BOARDTYPE) | - | $(BOARDTYPEIDX) | - | LEDCTRL | - | FirmwareVersion |  |  | In | Read firmare version | 550000-PCF-0001
$(CBS1) | - | $(CBS2) | - | HWCF | : | $(BOARDTYPE) | - | $(BOARDTYPEIDX) | - | LEDCTRL | - | DeviceVersion |  |  | In | Read device version | 550000-PCF-0001
$(CBS1) | - | $(CBS2) | - | HWCF | : | $(BOARDTYPE) | - | $(BOARDTYPEIDX) | - | LEDCTRL | - | $(LED_ID) | - | Current | Out | Set LED current | 550000-PCF-0001
$(CBS1) | - | $(CBS2) | - | HWCF | : | $(BOARDTYPE) | - | $(BOARDTYPEIDX) | - | LEDCTRL | - | $(LED_ID) | - | Current_RBV | In | Read value of LED current | 550000-PCF-0001
$(CBS1) | - | $(CBS2) | - | HWCF | : | $(BOARDTYPE) | - | $(BOARDTYPEIDX) | - | LEDCTRL | - | $(LED_ID) | - | Voltage | In | Read value of LED voltage | 550000-PCF-0001

## LED Blinker_S
$(CBS1) | D1
$(CBS2) | LF
$(BOARDTYPE) | LEDBLINK
$(BOARDTYPEIDX) | 0 | 1 | 2
$(LED_ID) | LED0 | LED1

## PMT Current
Variable name | [16 empty] | In/Out In - from device Out - to device | Description | Hardware Allocation
Device
$(CBS1) | - | $(CBS2) | - | HWCF | : | $(BOARDTYPE) | - | $(BOARDTYPEIDX) | - | ErrorSev | [6 empty] | In | Get error severity | 550000-PCF-0001
$(CBS1) | - | $(CBS2) | - | HWCF | : | $(BOARDTYPE) | - | $(BOARDTYPEIDX) | - | ErrorSrc | [6 empty] | In | Get error source | 550000-PCF-0001
$(CBS1) | - | $(CBS2) | - | HWCF | : | $(BOARDTYPE) | - | $(BOARDTYPEIDX) | - | ErrorMsg | [6 empty] | In | Get error message | 550000-PCF-0001
State Machine
$(CBS1) | - | $(CBS2) | - | HWCF | : | $(BOARDTYPE) | - | $(BOARDTYPEIDX) | - | StateMachine | - | getState |  |  |  |  | In | Get device state (NDS State Machine) | 550000-PCF-0001
$(CBS1) | - | $(CBS2) | - | HWCF | : | $(BOARDTYPE) | - | $(BOARDTYPEIDX) | - | StateMachine | - | setState |  |  |  |  | Out | Set device state (NDS State Machine) | 550000-PCF-0001
Channel Group
$(CBS1) | - | $(CBS2) | - | HWCF | : | $(BOARDTYPE) | - | $(BOARDTYPEIDX) | - | $(GROUP_ID) | - | TriggerMode |  |  |  |  | Out | Hardware/software trigger | 550000-PCF-0001
$(CBS1) | - | $(CBS2) | - | HWCF | : | $(BOARDTYPE) | - | $(BOARDTYPEIDX) | - | $(GROUP_ID) | - | StartTime |  |  |  |  | Out | Start Time | 550000-PCF-0001
$(CBS1) | - | $(CBS2) | - | HWCF | : | $(BOARDTYPE) | - | $(BOARDTYPEIDX) | - | $(GROUP_ID) | - | StopTime |  |  |  |  | Out | Stop Time | 550000-PCF-0001
Channel
$(CBS1) | - | $(CBS2) | - | HWCF | : | $(BOARDTYPE) | - | $(BOARDTYPEIDX) | - | $(GROUP_ID) | - | $(CHANNEL_ID) | - | Enable |  |  | Out | Enable channel | 550000-PCF-0001
$(CBS1) | - | $(CBS2) | - | HWCF | : | $(BOARDTYPE) | - | $(BOARDTYPEIDX) | - | $(GROUP_ID) | - | $(CHANNEL_ID) | - | Gain |  |  | Out | Set input voltage gain | 550000-PCF-0001
$(CBS1) | - | $(CBS2) | - | HWCF | : | $(BOARDTYPE) | - | $(BOARDTYPEIDX) | - | $(GROUP_ID) | - | $(CHANNEL_ID) | - | SamplingFrequency |  |  | Out | Set ADC sampling frequency | 550000-PCF-0001
$(CBS1) | - | $(CBS2) | - | HWCF | : | $(BOARDTYPE) | - | $(BOARDTYPEIDX) | - | $(GROUP_ID) | - | $(CHANNEL_ID) | - | SamplingFrequency_RBV |  |  | In | Get ADC sampling frequency | 550000-PCF-0001
$(CBS1) | - | $(CBS2) | - | HWCF | : | $(BOARDTYPE) | - | $(BOARDTYPEIDX) | - | $(GROUP_ID) | - | $(CHANNEL_ID) | - | Data |  |  | In | Raw data from ADC for HMI | 550000-PCF-0001
Preamplifier
$(CBS1) | - | $(CBS2) | - | HWCF | : | $(BOARDTYPE) | - | $(BOARDTYPEIDX) | - | $(GROUP_ID) | - | $(CHANNEL_ID) | - | Preamp | - | Gain | Out | Gain of PMT preamplifier | 550000-PCF-0001
$(CBS1) | - | $(CBS2) | - | HWCF | : | $(BOARDTYPE) | - | $(BOARDTYPEIDX) | - | $(GROUP_ID) | - | $(CHANNEL_ID) | - | Preamp | - | Bandwidth | Out | Bandwidth of PMT preamplifier | 550000-PCF-0001

## PMT Current_S
$(CBS1) | D1
$(CBS2) | LF
$(BOARDTYPE) | PMTCURRENT
$(BOARDTYPEIDX) | 0
$(GROUP_ID) | CH
$(CHANNEL_ID) | 0 | 1