## Motor Controller (PI_E713)
Variable name | [12 empty] | In/Out In - from device Out - to device | Description | Hardware Allocation | TCP Command
Device (PI E713) status
$(CBS1) |  |  |  | MSTS | : | CONNECTION | - | ANALYSER |  |  |  |  | IN | Analyse the IP conection. |  | IN DRIVER
$(CBS1) | - | $(CBS2) | - | MSTS | : | CONNECTION | - | ATTEMPTS |  |  |  |  | IN | Allowed connection attempts - by default set to 11. |  | IN DRIVER
$(CBS1) | - | $(CBS2) | - | MSTS | : | CONNECTION | - | COUNTER |  |  |  |  | IN | Counts the number of times we've tried to reconnect. |  | IN DRIVER
$(CBS1) | - | $(CBS2) | - | MSTS | : | CONNECTION | - | MONITOR |  |  |  |  | IN | Get the device (PI E713) IP address. |  | IFC?
$(CBS1) | - | $(CBS2) | - | MSTS | : | CONNECTION | - | STATE |  |  |  |  | IN | State of the internet connection to the PI E713 mirror motor controller. 0: Disconnected 1: Connected |  | IN DRIVER
$(CBS1) | - | $(CBS2) | - | MSTS | : | CONNECTION | - | STATE | - | CALC |  |  | IN | Calculate the connection status. - not a device PV |  | IN DRIVER
$(CBS1) | - | $(CBS2) | - | MSTS | : | MAYBE | - | REBOOT |  |  |  |  | IN | Represents if the device is in a state where a reboot of the PI E713 may be required. 0: Zero 1: Maybe Rebooting |  | IN DRIVER
$(CBS1) | - | $(CBS2) | - | MSTS | : | MAYBE | - | REBOOT | - | CALC |  |  | IN | Calculate whether or not a reboot of the device (PI E713) is needed. - Not a device PV |  | IN DRIVER
$(CBS1) | - | $(CBS2) | - | MSTS | : | STATUS | [6 empty] | IN | General status of the PI E713 motor controller. 0: OK 1: Warning 2: Error |  | IN DRIVER
General
$(CBS1) | - | $(CBS2) | - | MGEN | : | ERROR | - | CALC |  |  |  |  | IN | Calculate the non-zero error code. - NOT A DEVICE PV |  | IN DRIVER
$(CBS1) | - | $(CBS2) | - | MGEN | : | ERROR | - | CND |  |  |  |  | IN | Error retaining condition fulfilled. |  | IN DRIVER
$(CBS1) | - | $(CBS2) | - | MGEN | : | ERROR | - | MSG |  |  |  |  | IN | Error message to be displayed. |  | IN DRIVER
$(CBS1) | - | $(CBS2) | - | MGEN | : | ERROR | - | NR |  |  |  |  | IN | Obtain the latest error number/code |  | ERR
$(CBS1) | - | $(CBS2) | - | MGEN | : | ERROR | - | STS |  |  |  |  | IN | Get the latest error message. |  | IN DRIVER
$(CBS1) | - | $(CBS2) | - | MGEN | : | GATEWAY | - | INF |  |  |  |  | IN | Driver default gateway address. |  | IN DRIVER
$(CBS1) | - | $(CBS2) | - | MGEN | : | HOSTNAME | - | INF |  |  |  |  | IN | Driver hostname. |  | IN DRIVER
$(CBS1) | - | $(CBS2) | - | MGEN | : | IDEN | - | INF |  |  |  |  | IN | Product identification string. |  | IDN? | `
$(CBS1) | - | $(CBS2) | - | MGEN | : | SERIAL | - | INF |  |  |  |  | IN | Get device product serial number |  | SSN?
$(CBS1) | - | $(CBS2) | - | MGEN | : | IP | - | ADDRESS | - | INF |  |  | IN | Driver IP address. |  | IN DRIVER
$(CBS1) | - | $(CBS2) | - | MGEN | : | IP | - | MODE | - | INF |  |  | IN | Driver IP mode (static/DHCP) 0: static 1: DHCP |  | IN DRIVER
$(CBS1) | - | $(CBS2) | - | MGEN | : | MAC | - | ADDRESS | - | INF |  |  | IN | Driver MAC address. |  | IN DRIVER
$(CBS1) | - | $(CBS2) | - | MGEN | : | MOTOR | - | $(MotorNumber) | - | TYPE | - | CFA | IN | Get motor type. |  | IN DRIVER
$(CBS1) | - | $(CBS2) | - | MGEN | : | MOTOR | - | $(MotorNumber) | - | TYPE | - | CFG | OUT | Set motor type |  | IN DRIVER
$(CBS1) | - | $(CBS2) | - | MGEN | : | MULTI | - | LINK |  |  |  |  | IN | Fanout record to process multiple records. |  | IN DRIVER
$(CBS1) | - | $(CBS2) | - | MGEN | : | NETMASK | - | INF |  |  |  |  | IN | Driver network netmask. |  | IN DRIVER
$(CBS1) | - | $(CBS2) | - | MGEN | : | PURGE | - | CMD |  |  |  |  | OUT | Purge all user settings. |  | IN DRIVER
$(CBS1) | - | $(CBS2) | - | MGEN | : | RECALL | - | CMD |  |  |  |  | OUT | Restore factory settings (0) or last. |  | IN DRIVER
$(CBS1) | - | $(CBS2) | - | MGEN | : | RESET | - | CMD |  |  |  |  | OUT | Reboot the PI E713 CPU |  | IN DRIVER
$(CBS1) | - | $(CBS2) | - | MGEN | : | SAVE | - | CMD |  |  |  |  | IN | Save motor settings. |  | IN DRIVER
$(CBS1) | - | $(CBS2) | - | MGEN | : | SAVE | - | CMD |  |  |  |  | OUT | Save motor settings. |  | IN DRIVER
Mirror axes control
$(CBS1) | - | $(CBS2) | - | MAXI | : | ABORT | - | CMD |  |  |  |  | OUT | Abort motion of all the axes. |  | STP
$(CBS1) | - | $(CBS2) | - | MAXI | : | ACC | - | $(MotorNumber) | - | SPA |  |  | IN | Get motor acceleration. |  | NO CMD?
$(CBS1) | - | $(CBS2) | - | MAXI | : | ACC | - | $(MotorNumber) | - | SPV |  |  | OUT | Set motor acceleration. |  | NO CMD?
$(CBS1) | - | $(CBS2) | - | MAXI | : | FREERUN | - | FWD | - | $(MotorNumber) | - | CMD | OUT | Move forward indefinitely |  | JOG
$(CBS1) | - | $(CBS2) | - | MAXI | : | FREERUN | - | REV | - | $(MotorNumber) | - | CMD | OUT | Move reverse indefinitely |  | JOG
$(CBS1) | - | $(CBS2) | - | MAXI | : | HOME | - | POS | - | $(MotorNumber) | - | SPA | IN | Get motor home position. |  | IN DRIVER
$(CBS1) | - | $(CBS2) | - | MAXI | : | HOME | - | POS | - | $(MotorNumber) | - | SPV | OUT | Set motor home position. |  | IN DRIVER
$(CBS1) | - | $(CBS2) | - | MAXI | : | MOTION | - | $(MotorNumber) | - | STS |  |  | IN | Get motor motion status: 0: Motion in progress 1: Motion is NOT in progress. |  | IN DRIVER
$(CBS1) | - | $(CBS2) | - | MAXI | : | POSITION | - | ABS | - | $(MotorNumber) | - | ACQ | IN | Get motor absolute position. |  | MOV?
$(CBS1) | - | $(CBS2) | - | MAXI | : | POSITION | - | ABS | - | $(MotorNumber) | - | SPA | IN | Get motor absolution position. |  | ?
$(CBS1) | - | $(CBS2) | - | MAXI | : | POSITION | - | ABS | - | $(MotorNumber) | - | SPV | OUT | Set motor target absolute position. |  | MOV
$(CBS1) | - | $(CBS2) | - | MAXI | : | POSITION | - | REL | - | $(MotorNumber) | - | SPA | IN | Get motor relative position. |  | POS?
$(CBS1) | - | $(CBS2) | - | MAXI | : | POSITION | - | REL | - | $(MotorNumber) | - | SPV | OUT | Set motor relative to target position. |  | POS?
$(CBS1) | - | $(CBS2) | - | MAXI | : | STOP | - | $(MotorNumber) | - | CMD |  |  | OUT | Stop motor motion. |  | HLT
$(CBS1) | - | $(CBS2) | - | MAXI | : | VELOCITY | - | $(MotorNumber) | - | SPA |  |  | IN | Get motor velocity. |  | JOG?
$(CBS1) | - | $(CBS2) | - | MAXI | : | VELOCITY | - | $(MotorNumber) | - | SPV |  |  | OUT | Set motor velocity. |  | JOG
$(CBS1) | - | $(CBS2) | - | MAXI | : | LIMIT | - | CMD |  |  |  |  | IN | Get wheter or not there is a limit switch |  | LIM?
$(CBS1) | - | $(CBS2) | - | MAXI | : | JUMP | - | CMD |  |  |  |  | OUT | Preform a relative jump |  | JRC
$(CBS1) | - | $(CBS2) | - | MAXI | : | WALKSTEPS | - | CMD |  |  |  |  | OUT | Sets the number of steps for a walk |  | OSM
$(CBS1) | - | $(CBS2) | - | MAXI | : | REMAINSTEPS | - | CMD |  |  |  |  | IN | Gets the number of steps remaining in a walk |  | OSN?
$(CBS1) | - | $(CBS2) | - | MAXI | : | OVERFLOW | - | CMD |  |  |  |  | OUT | Get overflow state of axis |  | OVF?
$(CBS1) | - | $(CBS2) | - | MAXI | : | SHEARVOLT | - | CMD |  |  |  |  | OUT | Sets the shearing voltage |  | SSA
$(CBS1) | - | $(CBS2) | - | MAXI | : | SHEARVOLT | - | CMD |  |  |  |  | IN | Gets the shearing voltage |  | SSA?
$(CBS1) | - | $(CBS2) | - | MAXI | : | STEP | - | CMD |  |  |  |  | OUT | Starts a step and response measurement |  | STE
$(CBS1) | - | $(CBS2) | - | MAXI | : | OPMODE | - | CMD |  |  |  |  | OUT | Sets the operating mode (open-loop or closed-loop) |  | SVO
$(CBS1) | - | $(CBS2) | - | MAXI | : | OPMODE | - | CMD |  |  |  |  | IN | Gets the operating mode (open-loop or closed-loop) |  | SVO?

## Motor Controller (PI_E713)_S
$(CBS1) | D1
$(CBS2) | N9
$(MotorNumber) | 1

## RF Gen (COMET_CITO_PLUS)
Variable name | [10 empty] | In/Out In - from device Out - to device | Description | Hardware Allocation | TCP Command
Connection
$(CBS1) | - | $(CBS2) | - | RCON | : | CONNECTION | - | maxAttempts |  |  | IN | Allowed connection attempts - by default set to 11. |  | IN DRIVER
$(CBS1) | - | $(CBS2) | - | RCON | : | CONNECTION | - | connCounter |  |  | IN | Counts the number of times we've tried to reconnect. |  | IN DRIVER
$(CBS1) | - | $(CBS2) | - | RCON | : | CONNECTION | - | ipAddr |  |  | IN | Get the device (comet citoPlus) IP address. |  | 0x0A4113EC0001
$(CBS1) | - | $(CBS2) | - | RCON | : | CONNECTION | - | connStatus |  |  | IN | State of the internet connection to the citoPlus. 0: Disconnected 1: Connected |  | IN DRIVER
$(CBS1) | - | $(CBS2) | - | RCON | : | statusFlag |  |  |  |  | IN | General connection status of the citoPlus motor controller. 0: OK 1: Warning 2: Error |  | IN DRIVER
RF Generator state/status
$(CBS1) | - | $(CBS2) | - | RSTA | : | $(RF_GEN_ID) | - | STATE | - | rfOn | OUT | Turn RF on |  | 0x0A4203E901
$(CBS1) | - | $(CBS2) | - | RSTA | : | $(RF_GEN_ID) | - | STATE | - | rfOFF | OUT | Turn RF off |  | 0x0A4203E900
$(CBS1) | - | $(CBS2) | - | RSTA | : | $(RF_GEN_ID) | - | STATUS | - | rfStat | IN | Get status of RF (is it on or off) |  | 0x0A411F40001
$(CBS1) | - | $(CBS2) | - | RSTA | : | $(RF_GEN_ID) | - | STATE | - | setMaster | OUT | Sets the specified RF Generator as a Fixed CEX Master. This will force the other generator to be in the CEX terminated roll. |  | 0x0A42044D01 sent to master generator, 0x0A42110111 sent to CEX terminaed generator
$(CBS1) | - | $(CBS2) | - | RSTA | : | $(RF_GEN_ID) | - | STATUS | - | cexRoll | IN | Returns whether a generator is a CEX master, or CEX terminated |  | 0x0A41044D0001
$(CBS1) | - | $(CBS2) | - | RSTA | : | $(RF_GEN_ID) | - | STATE | - | genRelPhase | OUT | Sets the phase between the CEX master generator and the CEX terminated generator |  | 0x0A420458XXXXXXXX, where XXXXXXXX is the hex representation of a 32 bit integer representing the phase in degrees
$(CBS1) | - | $(CBS2) | - | RSTA | : | $(RF_GEN_ID) | - | STATUS | - | genRelPhase | IN | Gets the current phase between the CEX master generator and the CEX terminated generator |  | 0x0A4104580001
$(CBS1) | - | $(CBS2) | - | RSTA | : | $(RF_GEN_ID) | - | STATE | - | syncBusOff | OUT | Turns of sync bus |  | 0x0A421B5900
$(CBS1) | - | $(CBS2) | - | RSTA | : | $(RF_GEN_ID) | - | STATE | - | syncBusMaster | OUT | Sets the specified RF generator as a system bus master. This will force the other generator to be in the CEX terminated roll. |  | 0x0A421B5901
$(CBS1) | - | $(CBS2) | - | RSTA | : | $(RF_GEN_ID) | - | STATUS | - | syncBus | IN | Gets the current sync bus roll (i.e. is the generator a system bus master or not) |  | 0x0A411B590001
$(CBS1) | - | $(CBS2) | - | RSTA | : | $(RF_GEN_ID) | - | STATE | - | manualMatch | OUT | Set the match mode to manual |  | 0x0A42200901
$(CBS1) | - | $(CBS2) | - | RSTA | : | $(RF_GEN_ID) | - | STATE | - | autoMatch | OUT | Set the match mode to automatic |  | 0x0A42200902
$(CBS1) | - | $(CBS2) | - | RSTA | : | $(RF_GEN_ID) | - | STATUS | - | matchMode | IN | Returns the current match state |  | 0x0A4120090001
RF Generator power
$(CBS1) | - | $(CBS2) | - | RPOW | : | $(RF_GEN_ID) | - | STATE | - | setPoint | OUT | Sets the power output. |  | 0x0A4204B6XXXXXXXX, where XXXXXXXX is the hex representation of a 32 bit integer representing the output power in Watts.
$(CBS1) | - | $(CBS2) | - | RPOW | : | $(RF_GEN_ID) | - | STATUS | - | setPoint | IN | Get the current set point for the power output |  | 0x0A4104B60001
$(CBS1) | - | $(CBS2) | - | RPOW | : | $(RF_GEN_ID) | - | STATE | - | frwdPwr | OUT | Sets the power mode to forward power |  | 0x0A4204B100
$(CBS1) | - | $(CBS2) | - | RPOW | : | $(RF_GEN_ID) | - | STATE | - | loadPwr | OUT | Sets the power mode to load power |  | 0x0A4204B101
$(CBS1) | - | $(CBS2) | - | RPOW | : | $(RF_GEN_ID) | - | STATUS | - | pwrMode | IN | Get the current power mode (i.e. forward power, load power) |  | 0x0A411F550001
$(CBS1) | - | $(CBS2) | - | RPOW | : | $(RF_GEN_ID) | - | STATUS | - | reflectPwr | IN | Gets the reflected power |  | 0x0A411F560001
$(CBS1) | - | $(CBS2) | - | RPOW | : | $(RF_GEN_ID) | - | STATE | - | tuneCapPos | OUT | Moves the tune cap. |  | 0x0A42200CXXXXXXXX, where XXXXXXXX is the hex representation of a 32 bit integer representing the percentage of motion through which to move the tune cap.
$(CBS1) | - | $(CBS2) | - | RPOW | : | $(RF_GEN_ID) | - | STATE | - | loadCapPos | OUT | Moves the load cap. |  | 0x0A42200BXXXXXXXX, where XXXXXXXX is the hex representation of a 32 bit integer representing the percentage of motion through which to move the load cap.
$(CBS1) | - | $(CBS2) | - | RPOW | : | $(RF_GEN_ID) | - | STATUS | - | tuneCapPos | IN | Gets the current tune cap position |  | 0x0A4123F40001
$(CBS1) | - | $(CBS2) | - | RPOW | : | $(RF_GEN_ID) | - | STATUS | - | loadCapPos | IN | Gets the current load cap position |  | 0x0A4123F30001

## RF Gen (COMET_CITO_PLUS)_S
$(CBS1) | D1
$(CBS2) | N9
$(RF_GEN_ID) | RF1 | RF2